Fingrid Oyj

Application for approval of a reserve unit for fast frequency reserve (FFR)

[Name of the Reserve Provider]

[Name of the Reserve Unit]

Date

[DD-MM-YYYY]

# Introduction

Reserve provider will fill in this form for every reserve unit that they wish to offer to the fast frequency reserve market. Sections 1-3.1 should be filled in before the prequalification tests and sent to Fingrid for approval. Rest of the form is completed after the prequalification.  The information requested in the form is mandatory, and it must be supplemented, if necessary, at Fingrid's request. The application form is based on Appendix 2 of the Fast frequency reserve market agreement: The technical Requirements and the prequalification process of Fast Frequency Reserve (FFR) [1] and on Requirements on Reliability of Reserve Provision [3].

The application and required attachments are submitted to the Oma Fingrid portal.

# Summary

- Type of the reserve unit: - ☐ Single reserve resource ☐ Aggregated reserve entity - Name of the reserve unit: - Prequalification date: - Reason for the application: - ☐ New reserve entity - ☐ Periodic renewal of prequalification - ☐ Increasing the capacity of a previously qualified entity - ☐ Notable change in the reserve entity - If the reason is notable change, please describe the change below: - Indicate if type approval is applied for: - ☐ Yes ☐ No - If the reason for the application is to increase the capacity of a previously qualified entity, which of the following best describes the situation: - ☐ Only the new resource is tested. The resource fulfills the requirements independently. - ☐ Increasing the capacity of a previously qualified unit. The unit is tested with higher capacity. - ☐ Whole reserve entity is tested. - Control of the reserve unit: - ☐ Local control ☐ Central control - Activation frequency: - ☐ 49.5 Hz ☐ 49.6 Hz ☐ 49.7 Hz - Length of activation: - ☐ 5 seconds ☐ 30 seconds - Deactivation ramp speed: - ☐ Maximum 20 %/s ☐ Unlimited - Recovery power: - ☐ Maximum 25 % ☐ Not needed - Type of the reserve unit: - ☐ Production ☐ Consumption ☐ Energy storage ☐ Other, which?

Fill in applied reserve capacities for each product in Table 1.

Table 1. Applied reserve capacities

|  | Maximum capacity | Minimum capacity |  |
| --- | --- | --- | --- |
| CFFR |  |  | MW |

Fill in table 2 the tests that are to be performed and the operational conditions for the tests.

Table 2. Tests to be performed and their operational conditions. Mark tests that are to be performed with X. Include other relevant information about the test to “Additional information” -column.

|  |  | Maximum capacity | Minimum capacity | Additional information |
| --- | --- | --- | --- | --- |
| FFR | Step test |  |  |  |
|  | Ramp test |  |  |  |
|  | One-hour active provision test |  |  |  |

If during the tests, the frequency measurement device is bypassed by creating the frequency signal programmatically in the controller, provider shall perform a complementary test with grid frequency. During the test, the activation frequency of FFR is set close to the nominal frequency of the Nordic power grid (50 Hz). This test can be performed together with one-hour provision test. Report the used activation frequency to the additional information -column. Please note that history data as defined in Fingrid’s signal list should be provided from the one-hour active provision test. Signal list can be downloaded from Fingrid’s website.

# Overview

## Information of the balancing service provider

Fill in Table 3 the information about the company that will be acting as a balancing service provider (BSP) for the reserve unit in question. Balancing service provider is the party that will be signing reserve market agreement with Fingrid.

Table 3. Information of the company acting as a balancing service provider.

| Company name |  |
| --- | --- |
| Business ID |  |

## Information of the service providers

Fill in in Table 4 the information of possible service providers of the BSP. Add columns if necessary.

Table 4. Information of the service providers

|  | Service provider 1 | […] |
| --- | --- | --- |
| Company name |  |  |
| Acquired service (equipment, testing, IT, trading, operation) |  |  |
| Address |  |  |
| Business ID |  |  |

## Information of the reserve unit

Fill in Table 5 the information about the reserve unit. If an aggregated reserve entity includes many individual resources, use attachments to provide this information.

Table 5. Information of the reserve unit

|  | Reserve resource 1 | Reserve resource 2 | [….] |
| --- | --- | --- | --- |
| Name |  |  |  |
| Technology |  |  |  |
| Location / Connection point |  |  |  |
| Owner |  |  |  |
| Nominal power [MW] |  |  |  |

# Description of the reserve unit

## Technical data

Give technical data of the reserve unit.

Examples of such data is given below. For other technologies than the ones listed below, similar technical data should be provided.

Production:

- Hydro power plant: Water starting time constant Tw [s] at rated head [m] and at rated turbine power, using the rated turbine power as base power

- Wind power plant: Rated wind speed [m/s]

- Minimum and maximum power [MW]

- Other factors that may limit the reserve activation

Consumption:

- Type of consumption and its properties

- Minimum and maximum power [MW]

- Other factors that may limit the reserve activation (e.g. thermal capacity of an electric boiler)

Energy storages:

- Rated energy capacity of the energy storage [MWh]

- Energy storage maximum and minimum state of charge [MWh]

- Energy capacity available for the reserve use [MWh]

- Endurance of activation at full reserve capacity

## Control system

Describe the control system of the reserve unit:

> Describe how power response is calculated based on the measured grid frequency. Include for example equations for the calculations and possible signal processing.

> Present a block diagram of the controller/relay. Include values for controller parameters. Include power and frequency measurements in the diagram and explain abbreviations.

> Are there any delays? If yes, describe their reasons and report the magnitude.

> If the reserve unit can deliver multiple reserves or other frequency controls (FCR, FFR, FRR, LFSM) simultaneously, describe how the simultaneous provision is executed:

- Include a general description of activation of the reserves, their possible dependencies, changing of controller modes etc.

- Describe the possibility enable and disable individual reserve products.

- Describe the method that ensures that there is enough capacity for all the maintained reserve products.

- Notify if limited frequency sensitive modes (O-LFSM, U-LFSM) are defined for the unit and describe how they are implemented in the control system.

## Aggregation

If the application concerns aggregated reserve resources, describe how the aggregation system works:

> Describe the operation of the aggregation system, e.g. What logic is used to activate individual resources?

> If type-approval is applied for, a description of the type-approved resource shall be provided in the application.

## Limitations of energy storages

> Describe the strategy for restoring the energy storage state of charge.

> Describe how activation, deactivation, energy management etc. are implemented with multiple reserve provision.

## Calculation of reserve capacity

> Describe how the maintained capacity (included in the real-time data exchange) is calculated. Indicate how often the value will be updated. See examples in source [1] section 6.

## Calculation of baseline

If the power of the reserve unit varies according to the conditions, describe the variation and its causes.

> Describe how variations in the power of the reserve unit are taken into account when determining the available reserve capacity for trading. For example, what forecasts are used, how accurate the forecasts are, what margin is used, etc.

> Describe how the reference capacity (baseline) of the reserve object is calculated during operation.

- Example: a reserve object has a controlled setpoint that determines the reference power.

- Example: reference power is dependent on wind speed. Describe how it is calculated (e.g. measurement data and models used, accuracy of data/calculation, refresh interval...). Examples of calculations and more detailed requirements for validating reference power for weather-dependent production and variable consumption can be found in the source [2]. Attach the one-month data on calculated and measured instantaneous power required in source [2], if not already provided.

## Recording of history data

Describe the method used for continuous recording of measured values. If different measurement arrangements are used during the prequalification test, they are described in section 5.2.

> Describe how the power and frequency measurements are carried out and the factors affecting the measurement.

- Report the entire measurement chain with time delays.

> Enter the values for measurement accuracy, measurement resolution and sampling rate in Table 7 below. Please attach appropriate documentation, e.g. technical data of measuring instruments (data sheet).

> Indicate where the history data will be stored and how long it will be stored.

> Specify the time zone to be used for timestamping.

Table 7. Summary of history data recording and logging.

|  | Accuracy | Resolution |  | Sampling rate |
| --- | --- | --- | --- | --- |
| Instantaneous active power | % | MW | s |  |
| Measured grid frequency | MHz | MHz | s |  |

# Requirements for the reliability of reserve provision

The questions presented in this chapter are based on the Requirements for the reliability of reserve provision [3]. The requirements document is available on Fingrid's website.

Fill in the Tables in subsections 4.1 and 4.2 in yes/no format. If the answer is "No" or the implementation deviates from the requirement, describe the deviation and any compensating controls in the Attention / additional information column. The questions in Tables 8 and 9 do not cover all Requirements for the reliability of reserve provision, therefore please check the compliance of your implementation with a separate requirements document [3].

If the reserve provider related to this application has a company-wide ISO27001 certification and the information systems of any trading and control systems are located in the EU's internal market, table 8 can be left unfilled. In this case, the reserve provider must submit the certificate to the MyFingrid Reserve Market service.

## Cybersecurity

Table 8. Cybersecurity requirements.

| Requirement | Yes | No | Attention / Additional Information |
| --- | --- | --- | --- |
| Requirement 1: Does the provider comply with good practices in the fields of physical and cybersecurity? Examples of good practices in the industry include training personnel, continuous development of operations, assigning responsibility for safety, comprehensive risk management, and getting the company's management to approve the operating models used. | ☐ | ☐ |  |
| Requirement 1: Are the trading and control systems located in the Internal Market area of the European Union? | ☐ | ☐ |  |
| Requirement 2: Is multi-factor authentication (MFA) enabled before accessing the components of the control or trading system? | ☐ | ☐ |  |
| Requirement 2: Are IP restrictions used in interface connections whenever it is technically feasible? | ☐ | ☐ |  |
| Requirement 3: Are logs collected from access management, jump hosts, and application events, and are logs kept for at least 6 months? | ☐ | ☐ |  |
| Requirement 3: Are logs and alerts for critical and essential services monitored 24/7/365 by a SOC (Security Operations Center)? | ☐ | ☐ |  |
| Requirement 4: Are the access rights limited by work tasks and is their necessity reviewed regularly? | ☐ | ☐ |  |
| Requirement 5: Are remote access and management connections limited to essential functions and protected by strong authentication (MFA)? | ☐ | ☐ |  |
| Requirement 6: Are system components regularly updated and vulnerabilities regularly monitored? | ☐ | ☐ |  |
| Requirement 7: Are API and management connections encrypted according to requirements (e.g. TLS 1.2/1.3, AES256 or stronger)? | ☐ | ☐ |  |
| Requirement 8: Are critical or controllable devices blocked from direct unnecessary internet connections? | ☐ | ☐ |  |
| Requirement 9: Do control and remote connections as well as jump hosts have up-to-date endpoint security protection? | ☐ | ☐ |  |
| Requirement 10: Is the Incident Response process documented, approved by provider’s management and up to date? | ☐ | ☐ |  |

## Physical security

The physical security requirements apply to providing units with an approved product-specific reserve capacity of at least 10 MW. For smaller units, the requirements are recommendations. The same limitation and recommendation apply also to centralised control and trading systems.

Table 9. Requirements for physical safety.

| Requirement | Yes | No | Attention / Additional Information |
| --- | --- | --- | --- |
| Requirement 1: Does the property have an intruder alarm system connected to a 24/7 security control room? | ☐ | ☐ |  |
| Requirement 2: Is the protection of rooms with windows located on the ground level implemented with intrusion detectors? | ☐ | ☐ |  |
| Requirement 3: Does the site have a functioning camera surveillance system, the recordings of which are stored for at least 30 days and from which there is a real-time remote connection to the control room? | ☐ | ☐ |  |
| Requirement 4: Are the functionality of burglar alarm and camera surveillance systems inspected regularly and are deficiencies corrected without delay? | ☐ | ☐ |  |

## Detection of disturbances and response capability

> Describe how connection failures or any other anomalies, such as a power failure or equipment failure, are detected and reported to maintenance/operator.

> Describe the areas covered by monitoring. Describe at least how to monitor the status and control of reserve units, the connections between the control system and the reserve unit and the measuring devices, and alarms related to physical safety and cybersecurity.

> Inform the response and repair times for disturbances in the reserve provision.

> Describe how the fault tolerance testing is organized and how often it is done (e.g. in connection with the annual clock or updates).

## Requirements for centralised control systems

> If activation is controlled from a centralized system, describe the architecture and IT security related practices. The following topics can be used as a baseline for the description. In the scope of the description, please note chapter 3.1 of the Requirements for the Reliability of Reserve Provision.

- High level description of the system architecture

- Redundancy (e.g. duplicating central functions and local fallback solutions)

- Segmentation (e.g. system’s internal segmentation based on bidding areas, when the related BSP is operating within multiple bidding areas)

- IT support of centralized control system

## Requirements for centralised trading system

> If the reserve unit receives information about the capacity to be maintained from a centralized trading system, describe the related practices. The following topics can be used as a baseline for the description. In the scope of the description, please note chapter 3.2 of the Requirements for the Reliability of Reserve Provision.

- Time and verification of the signal delivery

- IT support of the trading system

- Reserve unit operation during a connection break

# Prequalification test and test results

## Overview of the prequalification

Indicate the time and place of the prequalification test:

Describe the general operating conditions during the tests:

> Include a brief description of how the conditions can be expected to have affected the test result.

## Test method

Describe how the reserve unit was tested:

> Describe the test method. Was the frequency signal generated programmatically or with an external source?

> If different measuring and recording devices were used in the tests than in normal use, describe them and fill in Table 10 with information on the accuracy, resolution, and sampling rate of the devices. Fill in at least the information about the measurement of the synthetic frequency signal.

> Specify the time zone to be used for timestamping.

Table 10. Summary of data recording and logging during testing.

|  | Accuracy | Resolution | Sampling rate |
| --- | --- | --- | --- |
| Instantaneous active power | % | MW | s |
| Measured frequency | MHz | MHz | s |

# List of attachments

Write a list of all application attachments:

- Test report

- Test data

- etc.

> Include the necessary reports and measurement data.

> Before submitting the data, please ensure that it does not require manual processing prior to reviewing the results (removing empty rows from the beginning of the file, etc.).

> Log the 1-hour active delivery data in the same format as the historical data. The instructions can be found in Fingrid’s reserve trading and information exchange guidelines.

# References

| [1] | The technical Requirements and the Prequalification process for Fast Frequency Reserve, available on Fingrid’s website |
| --- | --- |
| [2] | Guideline for providing automatic reserves from intermittent generation and consumption, available on Fingrid’s website |
| [3] | Requirements for the Reliability of Reserve Provision, available on Fingrid’s website |