Fingrid Oyj

Application for approval of a reserve unit for fast frequency reserve (FFR)

[Name of the Reserve Provider]

[Name of the Reserve Unit]

Date

[DD-MM-YYYY]

# Introduction

Reserve provider will fill in this form for every reserve unit that they wish to offer to the fast frequency reserve market. Sections 1-3.1 should be filled in before the prequalification tests and sent to Fingrid for approval. Rest of the form is completed after the prequalification.  The information requested in the form is mandatory, and it must be supplemented, if necessary, at Fingrid's request. The application form is based on Appendix 2 of the Fast frequency reserve market agreement: The technical Requirements and the prequalification process of Fast Frequency Reserve (FFR) [1].

The application and required attachments are submitted to the Oma Fingrid portal.

# Summary

- Type of the reserve unit: - ☐ Single reserve resource ☐ Aggregated reserve entity - Name of the reserve unit: - Prequalification date: - Reason for the application: - ☐ New reserve entity - ☐ Periodic renewal of prequalification - ☐ Increasing the capacity of a previously qualified entity - ☐ Notable change in the reserve entity - If the reason is notable change, please describe the change below: - Indicate if type approval is applied for: - ☐ Yes ☐ No - If the reason for the application is to increase the capacity of a previously qualified entity, which of the following best describes the situation: - ☐ Only the new resource is tested. The resource fulfills the requirements independently. - ☐ Increasing the capacity of a previously qualified unit. The unit is tested with higher capacity. - ☐ Whole reserve entity is tested. - Control of the reserve unit: - ☐ Local control ☐ Central control - Activation frequency: - ☐ 49.5 Hz ☐ 49.6 Hz ☐ 49.7 Hz - Length of activation: - ☐ 5 seconds ☐ 30 seconds - Deactivation ramp speed: - ☐ Maximum 20 %/s ☐ Unlimited - Recovery power: - ☐ Maximum 25 % ☐ Not needed - Type of the reserve unit: - ☐ Production ☐ Consumption ☐ Energy storage ☐ Other, which?

Fill in applied reserve capacities for each product in Table 1.

Table 1. Applied reserve capacities

|  | Maximum capacity | Minimum capacity |  |
| --- | --- | --- | --- |
| CFFR |  |  | MW |

Fill in table 2 the tests that are to be performed and the operational conditions for the tests.

Table 2. Tests to be performed and their operational conditions. Mark tests that are to be performed with X. Include other relevant information about the test to “Additional information” -column.

|  |  | Maximum capacity | Minimum capacity | Additional information |
| --- | --- | --- | --- | --- |
| FFR | Step test |  |  |  |
|  | Ramp test |  |  |  |
|  | One-hour active provision test |  |  |  |

If during the tests, the frequency measurement device is bypassed by creating the frequency signal programmatically in the controller, provider shall perform a complementary test with grid frequency. During the test, the activation frequency of FFR is set close to the nominal frequency of the Nordic power grid (50 Hz). This test can be performed together with one-hour provision test. Report the used activation frequency to the additional information -column. Please note that history data as defined in Fingrid’s signal list should be provided from the one-hour active provision test. Signal list can be downloaded from Fingrid’s website.

# Overview

## Information of the balancing service provider

Fill in Table 3 the information about the company that will be acting as a balancing service provider (BSP) for the reserve unit in question. Balancing service provider is the party that will be signing reserve market agreement with Fingrid.

Table 3. Information of the company acting as a balancing service provider.

| Company name |  |
| --- | --- |
| Business ID |  |
| VAT-number |  |
| Address |  |

## Information of the service providers

Fill in in Table 4 the information of possible service providers of the BSP. Add columns if necessary.

Table 4. Information of the service providers

|  | Service provider 1 | […] |
| --- | --- | --- |
| Company name |  |  |
| Acquired service (equipment, testing, IT, trading, operation) |  |  |
| Address |  |  |
| Business ID |  |  |

## Information of the reserve unit

Fill in Table 5 the information about the reserve unit. If an aggregated reserve entity includes many individual resources, use attachments to provide this information.

Table 5. Information of the reserve unit

|  | Reserve resource 1 | Reserve resource 2 | [….] |
| --- | --- | --- | --- |
| Name |  |  |  |
| Technology |  |  |  |
| Rent |  |  |  |
| Owner |  |  |  |
| Balance responsible party |  |  |  |
| Nominal power [MW] |  |  |  |

# Description of the reserve unit

## Technical data

Give technical data of the reserve unit.

Examples of such data is given below. For other technologies than the ones listed below, similar technical data should be provided.

Production:

- Generator: Rated apparent power [MVA], inertia constant H [MWs/MVA]

- Turbine: Rated power [MW], inertia constant H [MWs/MVA]

- Hydro power plant: Water starting time constant Tw [s] at rated head [m] and at rated turbine power, using the rated turbine power as base power

- Wind power plant: Rated wind speed [m/s]

- Minimum and maximum power [MW]

Consumption:

- Type of consumption and its properties

- Minimum and maximum power [MW]

- Other factors that may limit the reserve activation (e.g. thermal capacity of an electric boiler)

Energy storages:

- Rated apparent power [MVA]

- Rated energy capacity of the energy storage [MWh]

- Energy storage maximum and minimum state of charge [MWh]

- Energy capacity available for the reserve use [MWh]

- Endurance of activation at full reserve capacity

## Activation and deactivation

Describe the activation and deactivation:

> Are there any delays? If yes, describe their reasons and report the magnitude.

> Describe the operation principle of the control system (local/central, frequency measurement, calculation of the control signal)

> If activation is controlled from a centralized system, describe shortly the architecture and IT security related practices. The following topics can be used as a baseline for the description:

- High level description of the system architecture

- Physical and cyber security (e.g. responsibilities, access management, facility security)

- Redundancy (e.g. duplicating central functions and local fallback solutions)

- Segmentation (e.g. system’s internal segmentation based on bidding areas, when the related BSP is operating within multiple bidding areas)

- Alerts and responding to abnormal control system behavior

- IT support of centralized control system

> If the reserve unit receives information about the capacity to be maintained from a centralized trading system, describe the related practices shortly. The following topics can be used as a baseline for the description:

- Secure and reliable communication between the centralized trading system and the reserve unit

- Time of the signal delivery

- Verification of the signal delivery

- Reserve unit operation during a connection break (e.g. the unit continues with already received trading data until the end of the day)

- Alerts and responding to abnormal system behavior

- IT support of centralized trading system

## Control system

Describe the control system of the reserve unit:

> Describe how power response is calculated based on the measured grid frequency. Include for example equations for the calculations and possible signal processing.

> Present a block diagram of the controller/relay. Include values for controller parameters. Include power and frequency measurements in the diagram and explain abbreviations.

> If the reserve unit can deliver multiple reserves or other frequency controls (FCR, FFR, FRR, LFSM) simultaneously, describe how the simultaneous provision is executed:

- Include a general description of activation of the reserves, their possible dependencies, changing of controller modes etc.

- Describe the possibility enable and disable individual reserve products.

- Describe the method that ensures that there is enough capacity for all the maintained reserve products.

- Notify if limited frequency sensitive modes (O-LFSM, U-LFSM) are defined for the unit and describe how they are implemented in the control system.

## Aggregation

If the application concerns aggregated reserve resources, describe how the aggregation system works:

> Describe the operation of the aggregation system, e.g. What logic is used to activate individual resources?

> If type-approval is applied for, a description of the type-approved resource shall be provided in the application.

## Limitations of energy storages

> Describe the strategy for restoring the energy storage state of charge.

> Describe how activation, deactivation, energy management etc. are implemented with multiple reserve provision.

## Calculation of reserve capacity

> Describe how the maintained capacity (included in the real-time data exchange) is calculated. Indicate how often the value will be updated. See examples in source [1] section 6.

## Calculation of baseline

If the power of the reserve unit varies according to the conditions, describe the variation and its causes.

> Describe how variations in the power of the reserve unit are taken into account when determining the available reserve capacity for trading. For example, what forecasts are used, how accurate the forecasts are, what margin is used, etc.

> Describe how the reference capacity (baseline) of the reserve object is calculated during operation.

- Example: a reserve object has a controlled setpoint that determines the reference power.

- Example: reference power is dependent on wind speed. Describe how it is calculated (e.g. measurement data and models used, accuracy of data/calculation, refresh interval...). Examples of calculations and more detailed requirements for validating reference power for weather-dependent production and variable consumption can be found in the source [2]. Attach the one-month data on calculated and measured instantaneous power required in source [2], if not already provided.

## Recording of history data

Describe the method used for continuous recording of measured values. If different measurement arrangements are used during the prequalification test, they are described in section 4.2.

> Describe how the power and frequency measurements are carried out and the factors affecting the measurement.

- Report the entire measurement chain with time delays.

> Enter the values for measurement accuracy, measurement resolution and sampling rate in Table 7 below. Please attach appropriate documentation, e.g. technical data of measuring instruments (data sheet).

> Indicate where the history data will be stored and how long it will be stored.

> Specify the time zone to be used for timestamping.

Table 7. Summary of history data recording and logging.

|  | Accuracy | Resolution |  | Sampling rate |
| --- | --- | --- | --- | --- |
| Instantaneous active power | % | MW | s |  |
| Measured grid frequency | MHz | MHz | s |  |

# Prequalification test and test results

## Overview of the prequalification

Indicate the time and place of the prequalification test:

Describe the general operating conditions during the tests:

> Include a brief description of how the conditions can be expected to have affected the test result.

## Test method

Describe how the reserve unit was tested:

> Describe the test method. Was the frequency signal generated programmatically or with an external source?

> If different measuring and recording devices were used in the tests than in normal use, describe them and fill in Table 8 with information on the accuracy, resolution, and sampling rate of the devices. Fill in at least the information about the measurement of the synthetic frequency signal.

> Specify the time zone to be used for timestamping.

Table 8. Summary of data recording and logging during testing.

|  | Accuracy | Resolution | Sampling rate |
| --- | --- | --- | --- |
| Instantaneous active power | % | MW | s |
| Measured grid frequency | MHz | MHz | s |
| Synthetic frequency signal | MHz | MHz | s |

# List of attachments

Write a list of all application attachments:

- Test report

- Test data

- etc.

> Include the necessary reports and measurement data.

> Before submitting the data, please ensure that it does not require manual processing prior to reviewing the results (removing empty rows from the beginning of the file, etc.).

> Log the 1-hour active delivery data in the same format as the historical data. The instructions can be found in Fingrid’s reserve trading and information exchange guidelines.

# References

| [1] | The technical Requirements and the Prequalification process for Fast Frequency Reserve |
| --- | --- |
| [2] | Guideline for providing automatic reserves from intermittent generation and consumption |