PSCAD model documentation template for data centers

# Table of Contents

Table of Contents	1

1	General information	3

1.1	Demand facility model version history	3

1.2	List of dependencies	3

2	Overview	4

2.1	Demand facility layout	4

2.2	Model structure	4

2.3	Model aggregation	8

3	Parameters	5

4	Usage instructions	6

4.1	Model usage instructions	6

4.2	Transferring model to another simulation project	6

4.3	Scaling the power rating of demand units and facility controller	6

4.4	Setting up multiple instances with separate parametrization	6

5	Functionalities	7

6	Supplementary documentation	8

6.1	Demand facility and component data	8

6.2	Model accuracy validation reports	8

6.3	Dynamic simulation results	8

| Date | Version | Changes |
| --- | --- | --- |
| xx.xx.xxxx | 1.0 | First official model documentation version |
| xx.xx.xxxx | 1.1 | Changed …. |

Forewords

This document template is based on the minimum requirements for information that shall be provided based on the “Fingrid modelling instruction for PSCAD models - Data Centers” document chapter 6. It is highly recommended to familiarize with the detailed instruction document prior to filling in this report template.

This document template shall be used for providing the required information. If stated in this document, certain information can be provided in separate document and to this documentation shall be written the reference to the separate documentation, i.e. name of the document, chapter number and page numbers. For datasheets the chapter and page number are not required for reference.

The first and second level headlines shall be maintained as in template. Additional second and third level headlines can be added if it improves the document readability. The modifications in the pre-defined tables are allowed only in the column where is requested to fill in information. Additional information for example to front pages (e.g. who prepared, checked and approved the document) or to headers/footers (e.g. logos, company information) can also be added if necessary.

All the remarks and instructions in the document template written with “italic” font are there to help to fill in the document template. These instructions shall be deleted prior to sending the report to Fingrid.

# General information

| Project basic information | Fill the information to this column |
| --- | --- |
| Project name and location | Example Project |
| Point of Connection (POC) | HV side of the X substation |
| Rated power at POC | xxx.x MW |
| Rated voltage at POC | xxx kV |
| Grid Parameters (Demand facility short circuit data, and data of the grid used for model validation and development) | Normal: x.x + jy.y ohm Minimum: x.x + jy.y ohm |

| PSCAD model information | Fill the information to this column |
| --- | --- |
| Supported software versions: - PSCAD - Intel Fortran Compiler - Visual Studio | The requirement for software versions shall be confirmed from Fingrid - PSCAD xx - Intel Fortran Compiler xx - Visual studio xx |
| Simulation time steps | Recommended and supported simulation time steps (min and max) |
| Model bandwidth (freq. range) |  |
| Maximum number of supported definitions and instances | Fill in both if there is limitation of demand unit instances and/or number of instances supported by facility level controller |
| Manufacturer model release version and firmware version of real unit - UPS |  |
| Model supports simulations up to 1 minutes of simulation time | Yes/No |

## Demand facility model version history

| Date | Project package version | Changes |
| --- | --- | --- |
| xx.xx.xxxx | v. 1.0 etc | Initial delivery |
| xx.xx.xxxx | v. 1.1 etc | Changes made |

## List of dependencies

List of dependencies in PSCAD model

# Overview

This chapter shall include the overview of the demand facility and the model. Requirements from “Fingrid modelling instruction for PSCAD models - Data Centers” document chapter 6 points 8, 10 and 14. Please review the document for more detailed information of the requirement.

## Demand facility layout

Simplified illustration of demand facility layout showing voltage levels and main components within the demand facility.

## Model structure

Description of model structure containing high level overview of PSCAD canvas. The description must cover on high level all individual demand facility components represented in the model.

## Load profiles

Description of the load profiles

# Parameters

This chapter shall include the parameters of the demand facility and the model. Requirements from “Fingrid modelling instruction for PSCAD models - Data Centers” document chapter 6 points 11 and 12. Please review the document for more detailed information of the requirement.

Project specific parameter values for all model components. These can be listed in table format in the manual or in separate spreadsheet as reference. It is not enough to provide only datasheets.

    - Controls at POC and unit level

    - Protection at POC and unit level

    - Passive components relevant parameters (cables, transformers etc. for each type and aggregated model components). The documentation should also include how the component parameters have been selected, whether taken directly from datasheet, calculated or derived base on any assumptions.

# Usage instructions

This chapter shall include the usage instructions the model. Requirements from “Fingrid modelling instruction for PSCAD models - Data Centers” document chapter 6 point 13. Please review the document for more detailed information of the requirement.

## Model usage instructions

This section shall cover:

- How to change setpoints and control modes for regulation of active power (and reactive power, if applicable), such as: Active power of the demand facility, including the adjustment of individual demand units

- How to select and adjust the load profiles of the demand facility, if applicable

- Setup and initialization of the model

## Transferring model to another simulation project

## Scaling the power rating of demand units and facility controller

## Setting up multiple instances with separate parametrization

# Functionalities

This chapter can include the descriptions for the demand facility and the model functionalities. Requirements from “Fingrid modelling instruction for PSCAD models - Data Centers” document chapter 6 points 15 – 21. Please review the document for more detailed information of the requirement. The descriptions in this part can be provided directly to this document or as a reference to another document as described in forewords.

# Supplementary documentation

Requirements from “Fingrid modelling instruction for PSCAD models - Data Centers” document chapter 6 points 22 – 25 can be included here. Please review the document for more detailed information of the requirement. The descriptions in this part can be provided directly to this document or as a reference to another document as described in forewords.

## Demand facility and component data

Demand facility single-line diagram (SLD) showing main components up to the POC

Lengths, electrical and geometrical data of all high voltage cables and overhead lines required for EMT simulation modelling

Data sheets for transformers, cables, surge arresters, harmonic filters (if applicable)

## Functional description

Description of how the demand facility operates within a time frame of 1 minute.

## Model aggregation

Description of the model aggregation (i.e. the final and accepted aggregation proposal).

## Model accuracy validation reports

Model validation against actual measurements

## Dynamic simulation results

The results from dynamic simulations, if required by relevant grid code, can be added to directly to this document or as reference to another document.