## FCR-N
Reserve capacity (MW) | f (Hz) | ¦ΔP¦ (MW) | Ideal ¦ΔP¦ (MW) | Min ΔP (MW) | Max ΔP (MW)
| 50.1 |  | 0 | 0 | 0 | Fill in yellow cells
| 50.095 |  | 0 | 0 | 0 | ¦ΔP¦ is the delivered FCR-N as an absolute value
| 50.09 |  | 0 | 0 | 0 | Check if the requirement is passed from graphs below
| 50.085 |  | 0 | 0 | 0 | Use upper graph if the resolution of the frequency measurement device is according to the minimum requirement (5 mHz)
| 50.08 |  | 0 | 0 | 0 | Use lower graph if the resolution of the frequency measurement device is more precise than the minimum requirement (e.g. 1 mHz)
| 50.075 |  | 0 | 0 | 0
| 50.07 |  | 0 | 0 | 0
| 50.065 |  | 0 | 0 | 0
| 50.06 |  | 0 | 0 | 0
| 50.055 |  | 0 | 0 | 0
| 50.05 |  | 0 | 0 | 0
| 50.045 |  | 0 | 0 | 0
| 50.04 |  | 0 | 0 | 0
| 50.035 |  | 0 | 0 | 0
| 50.03 |  | 0 | 0 | 0
| 50.025 |  | 0 | 0 | 0
| 50.02 |  | 0 | 0 | 0
| 50.015 |  | 0 | 0 | 0
| 50.01 |  | 0 | 0 | 0
| 50.005 |  | 0 | 0 | 0
| 50 |  | 0 | 0 | 0
| 49.995 |  | 0 | 0 | 0
| 49.99 |  | 0 | 0 | 0
| 49.985 |  | 0 | 0 | 0
| 49.98 |  | 0 | 0 | 0
| 49.975 |  | 0 | 0 | 0
| 49.97 |  | 0 | 0 | 0
| 49.965 |  | 0 | 0 | 0
| 49.96 |  | 0 | 0 | 0
| 49.955 |  | 0 | 0 | 0
| 49.95 |  | 0 | 0 | 0
| 49.945 |  | 0 | 0 | 0
| 49.94 |  | 0 | 0 | 0
| 49.935 |  | 0 | 0 | 0
| 49.93 |  | 0 | 0 | 0
| 49.925 |  | 0 | 0 | 0
| 49.92 |  | 0 | 0 | 0
| 49.915 |  | 0 | 0 | 0
| 49.91 |  | 0 | 0 | 0
| 49.905 |  | 0 | 0 | 0
| 49.9 |  | 0 | 0 | 0
Graph:
f | P
50.1 | 0
50.095 | 0
50.095 | 0
50.09 | 0
50.09 | 0
50.085 | 0
50.085 | 0
50.08 | 0
50.08 | 0
50.075 | 0
50.075 | 0
50.07 | 0
50.07 | 0
50.065 | 0
50.065 | 0
50.06 | 0
50.06 | 0
50.055 | 0
50.055 | 0
50.05 | 0
50.05 | 0
50.045 | 0
50.045 | 0
50.04 | 0
50.04 | 0
50.035 | 0
50.035 | 0
50.03 | 0
50.03 | 0
50.025 | 0
50.025 | 0
50.02 | 0
50.02 | 0
50.015 | 0
50.015 | 0
50.01 | 0
50.01 | 0
50.005 | 0
50.005 | 0
50 | 0
50 | 0
49.995 | 0
49.995 | 0
49.99 | 0
49.99 | 0
49.985 | 0
49.985 | 0
49.98 | 0
49.98 | 0
49.975 | 0
49.975 | 0
49.97 | 0
49.97 | 0
49.965 | 0
49.965 | 0
49.96 | 0
49.96 | 0
49.955 | 0
49.955 | 0
49.95 | 0
49.95 | 0
49.945 | 0
49.945 | 0
49.94 | 0
49.94 | 0
49.935 | 0
49.935 | 0
49.93 | 0
49.93 | 0
49.925 | 0
49.925 | 0
49.92 | 0
49.92 | 0
49.915 | 0
49.915 | 0
49.91 | 0
49.91 | 0
49.905 | 0
49.905 | 0
49.9 | 0
49.9 | 0

## FCR-D up
Reserve capacity (MW) | f (Hz) | ¦ΔP¦ (MW) | Ideal ¦ΔP¦ (MW) | Min ΔP (MW) | Max ΔP (MW)
| 49.9 |  | 0 | 0 | 0 | Fill in yellow cells
| 49.895 |  | 0 | 0 | 0 | ¦ΔP¦ is the delivered FCR-D up as an absolute value
| 49.89 |  | 0 | 0 | 0 | Check if the requirement is passed from graphs below
| 49.885 |  | 0 | 0 | 0 | Use upper graph if the resolution of the frequency measurement device is according to the minimum requirement (5 mHz)
| 49.88 |  | 0 | 0 | 0 | Use lower graph if the resolution of the frequency measurement device is more precise than the minimum requirement (e.g. 1 mHz)
| 49.875 |  | 0 | 0 | 0
| 49.87 |  | 0 | 0 | 0
| 49.865 |  | 0 | 0 | 0
| 49.86 |  | 0 | 0 | 0
| 49.855 |  | 0 | 0 | 0
| 49.85 |  | 0 | 0 | 0
| 49.845 |  | 0 | 0 | 0
| 49.84 |  | 0 | 0 | 0
| 49.835 |  | 0 | 0 | 0
| 49.83 |  | 0 | 0 | 0
| 49.825 |  | 0 | 0 | 0
| 49.82 |  | 0 | 0 | 0
| 49.815 |  | 0 | 0 | 0
| 49.81 |  | 0 | 0 | 0
| 49.805 |  | 0 | 0 | 0
| 49.8 |  | 0 | 0 | 0
| 49.795 |  | 0 | 0 | 0
| 49.79 |  | 0 | 0 | 0
| 49.785 |  | 0 | 0 | 0
| 49.78 |  | 0 | 0 | 0
| 49.775 |  | 0 | 0 | 0
| 49.77 |  | 0 | 0 | 0
| 49.765 |  | 0 | 0 | 0
| 49.76 |  | 0 | 0 | 0
| 49.755 |  | 0 | 0 | 0
| 49.75 |  | 0 | 0 | 0
| 49.745 |  | 0 | 0 | 0
| 49.74 |  | 0 | 0 | 0
| 49.735 |  | 0 | 0 | 0
| 49.73 |  | 0 | 0 | 0
| 49.725 |  | 0 | 0 | 0
| 49.72 |  | 0 | 0 | 0
| 49.715 |  | 0 | 0 | 0
| 49.71 |  | 0 | 0 | 0
| 49.705 |  | 0 | 0 | 0
| 49.7 |  | 0 | 0 | 0
| 49.695 |  | 0 | 0 | 0
| 49.69 |  | 0 | 0 | 0
| 49.685 |  | 0 | 0 | 0
| 49.68 |  | 0 | 0 | 0
| 49.675 |  | 0 | 0 | 0
| 49.67 |  | 0 | 0 | 0
| 49.665 |  | 0 | 0 | 0
| 49.66 |  | 0 | 0 | 0
| 49.655 |  | 0 | 0 | 0
| 49.65 |  | 0 | 0 | 0
| 49.645 |  | 0 | 0 | 0
| 49.64 |  | 0 | 0 | 0
| 49.635 |  | 0 | 0 | 0
| 49.63 |  | 0 | 0 | 0
| 49.625 |  | 0 | 0 | 0
| 49.62 |  | 0 | 0 | 0
| 49.615 |  | 0 | 0 | 0
| 49.61 |  | 0 | 0 | 0
| 49.605 |  | 0 | 0 | 0
| 49.6 |  | 0 | 0 | 0
| 49.595 |  | 0 | 0 | 0
| 49.59 |  | 0 | 0 | 0
| 49.585 |  | 0 | 0 | 0
| 49.58 |  | 0 | 0 | 0
| 49.575 |  | 0 | 0 | 0
| 49.57 |  | 0 | 0 | 0
| 49.565 |  | 0 | 0 | 0
| 49.56 |  | 0 | 0 | 0
| 49.555 |  | 0 | 0 | 0
| 49.55 |  | 0 | 0 | 0
| 49.545 |  | 0 | 0 | 0
| 49.54 |  | 0 | 0 | 0
| 49.535 |  | 0 | 0 | 0
| 49.53 |  | 0 | 0 | 0
| 49.525 |  | 0 | 0 | 0
| 49.52 |  | 0 | 0 | 0
| 49.515 |  | 0 | 0 | 0
| 49.51 |  | 0 | 0 | 0
| 49.505 |  | 0 | 0 | 0
| 49.5 |  | 0 | 0 | 0
Graph:
f | P
49.9 | 0
49.895 | 0
49.895 | 0
49.89 | 0
49.89 | 0
49.885 | 0
49.885 | 0
49.88 | 0
49.88 | 0
49.875 | 0
49.875 | 0
49.87 | 0
49.87 | 0
49.865 | 0
49.865 | 0
49.86 | 0
49.86 | 0
49.855 | 0
49.855 | 0
49.85 | 0
49.85 | 0
49.845 | 0
49.845 | 0
49.84 | 0
49.84 | 0
49.835 | 0
49.835 | 0
49.83 | 0
49.83 | 0
49.825 | 0
49.825 | 0
49.82 | 0
49.82 | 0
49.815 | 0
49.815 | 0
49.81 | 0
49.81 | 0
49.805 | 0
49.805 | 0
49.8 | 0
49.8 | 0
49.795 | 0
49.795 | 0
49.79 | 0
49.79 | 0
49.785 | 0
49.785 | 0
49.78 | 0
49.78 | 0
49.775 | 0
49.775 | 0
49.77 | 0
49.77 | 0
49.765 | 0
49.765 | 0
49.76 | 0
49.76 | 0
49.755 | 0
49.755 | 0
49.75 | 0
49.75 | 0
49.745 | 0
49.745 | 0
49.74 | 0
49.74 | 0
49.735 | 0
49.735 | 0
49.73 | 0
49.73 | 0
49.725 | 0
49.725 | 0
49.72 | 0
49.72 | 0
49.715 | 0
49.715 | 0
49.71 | 0
49.71 | 0
49.705 | 0
49.705 | 0
49.7 | 0
49.7 | 0
49.695 | 0
49.695 | 0
49.69 | 0
49.69 | 0
49.685 | 0
49.685 | 0
49.68 | 0
49.68 | 0
49.675 | 0
49.675 | 0
49.67 | 0
49.67 | 0
49.665 | 0
49.665 | 0
49.66 | 0
49.66 | 0
49.655 | 0
49.655 | 0
49.65 | 0
49.65 | 0
49.645 | 0
49.645 | 0
49.64 | 0
49.64 | 0
49.635 | 0
49.635 | 0
49.63 | 0
49.63 | 0
49.625 | 0
49.625 | 0
49.62 | 0
49.62 | 0
49.615 | 0
49.615 | 0
49.61 | 0
49.61 | 0
49.605 | 0
49.605 | 0
49.6 | 0
49.6 | 0
49.595 | 0
49.595 | 0
49.59 | 0
49.59 | 0
49.585 | 0
49.585 | 0
49.58 | 0
49.58 | 0
49.575 | 0
49.575 | 0
49.57 | 0
49.57 | 0
49.565 | 0
49.565 | 0
49.56 | 0
49.56 | 0
49.555 | 0
49.555 | 0
49.55 | 0
49.55 | 0
49.545 | 0
49.545 | 0
49.54 | 0
49.54 | 0
49.535 | 0
49.535 | 0
49.53 | 0
49.53 | 0
49.525 | 0
49.525 | 0
49.52 | 0
49.52 | 0
49.515 | 0
49.515 | 0
49.51 | 0
49.51 | 0
49.505 | 0
49.505 | 0
49.5 | 0
49.5 | 0

## FCR-D down
Reserve capacity (MW) | f (Hz) | ¦ΔP¦ (MW) | Ideal ¦ΔP¦ (MW) | Min ΔP (MW) | Max ΔP (MW)
| 50.1 |  | 0 | 0 | 0 | Fill in yellow cells
| 50.105 |  | 0 | 0 | 0 | ¦ΔP¦ is the delivered FCR-D down as an absolute value
| 50.11 |  | 0 | 0 | 0 | Check if the requirement is passed from graphs below
| 50.115 |  | 0 | 0 | 0 | Use upper graph if the resolution of the frequency measurement device is according to the minimum requirement (5 mHz)
| 50.12 |  | 0 | 0 | 0 | Use lower graph if the resolution of the frequency measurement device is more precise than the minimum requirement (e.g. 1 mHz)
| 50.125 |  | 0 | 0 | 0
| 50.13 |  | 0 | 0 | 0
| 50.135 |  | 0 | 0 | 0
| 50.14 |  | 0 | 0 | 0
| 50.145 |  | 0 | 0 | 0
| 50.15 |  | 0 | 0 | 0
| 50.155 |  | 0 | 0 | 0
| 50.16 |  | 0 | 0 | 0
| 50.165 |  | 0 | 0 | 0
| 50.17 |  | 0 | 0 | 0
| 50.175 |  | 0 | 0 | 0
| 50.18 |  | 0 | 0 | 0
| 50.185 |  | 0 | 0 | 0
| 50.19 |  | 0 | 0 | 0
| 50.195 |  | 0 | 0 | 0
| 50.2 |  | 0 | 0 | 0
| 50.205 |  | 0 | 0 | 0
| 50.21 |  | 0 | 0 | 0
| 50.215 |  | 0 | 0 | 0
| 50.22 |  | 0 | 0 | 0
| 50.225 |  | 0 | 0 | 0
| 50.23 |  | 0 | 0 | 0
| 50.235 |  | 0 | 0 | 0
| 50.24 |  | 0 | 0 | 0
| 50.245 |  | 0 | 0 | 0
| 50.25 |  | 0 | 0 | 0
| 50.255 |  | 0 | 0 | 0
| 50.26 |  | 0 | 0 | 0
| 50.265 |  | 0 | 0 | 0
| 50.27 |  | 0 | 0 | 0
| 50.275 |  | 0 | 0 | 0
| 50.28 |  | 0 | 0 | 0
| 50.285 |  | 0 | 0 | 0
| 50.29 |  | 0 | 0 | 0
| 50.295 |  | 0 | 0 | 0
| 50.3 |  | 0 | 0 | 0
| 50.305 |  | 0 | 0 | 0
| 50.31 |  | 0 | 0 | 0
| 50.315 |  | 0 | 0 | 0
| 50.32 |  | 0 | 0 | 0
| 50.325 |  | 0 | 0 | 0
| 50.33 |  | 0 | 0 | 0
| 50.335 |  | 0 | 0 | 0
| 50.34 |  | 0 | 0 | 0
| 50.345 |  | 0 | 0 | 0
| 50.35 |  | 0 | 0 | 0
| 50.355 |  | 0 | 0 | 0
| 50.36 |  | 0 | 0 | 0
| 50.365 |  | 0 | 0 | 0
| 50.37 |  | 0 | 0 | 0
| 50.375 |  | 0 | 0 | 0
| 50.38 |  | 0 | 0 | 0
| 50.385 |  | 0 | 0 | 0
| 50.39 |  | 0 | 0 | 0
| 50.395 |  | 0 | 0 | 0
| 50.4 |  | 0 | 0 | 0
| 50.405 |  | 0 | 0 | 0
| 50.41 |  | 0 | 0 | 0
| 50.415 |  | 0 | 0 | 0
| 50.42 |  | 0 | 0 | 0
| 50.425 |  | 0 | 0 | 0
| 50.43 |  | 0 | 0 | 0
| 50.435 |  | 0 | 0 | 0
| 50.44 |  | 0 | 0 | 0
| 50.445 |  | 0 | 0 | 0
| 50.45 |  | 0 | 0 | 0
| 50.455 |  | 0 | 0 | 0
| 50.46 |  | 0 | 0 | 0
| 50.465 |  | 0 | 0 | 0
| 50.47 |  | 0 | 0 | 0
| 50.475 |  | 0 | 0 | 0
| 50.48 |  | 0 | 0 | 0
| 50.485 |  | 0 | 0 | 0
| 50.49 |  | 0 | 0 | 0
| 50.495 |  | 0 | 0 | 0
| 50.5 |  | 0 | 0 | 0
Graph:
f | P
50.1 | 0
50.105 | 0
50.105 | 0
50.11 | 0
50.11 | 0
50.115 | 0
50.115 | 0
50.12 | 0
50.12 | 0
50.125 | 0
50.125 | 0
50.13 | 0
50.13 | 0
50.135 | 0
50.135 | 0
50.14 | 0
50.14 | 0
50.145 | 0
50.145 | 0
50.15 | 0
50.15 | 0
50.155 | 0
50.155 | 0
50.16 | 0
50.16 | 0
50.165 | 0
50.165 | 0
50.17 | 0
50.17 | 0
50.175 | 0
50.175 | 0
50.18 | 0
50.18 | 0
50.185 | 0
50.185 | 0
50.19 | 0
50.19 | 0
50.195 | 0
50.195 | 0
50.2 | 0
50.2 | 0
50.205 | 0
50.205 | 0
50.21 | 0
50.21 | 0
50.215 | 0
50.215 | 0
50.22 | 0
50.22 | 0
50.225 | 0
50.225 | 0
50.23 | 0
50.23 | 0
50.235 | 0
50.235 | 0
50.24 | 0
50.24 | 0
50.245 | 0
50.245 | 0
50.25 | 0
50.25 | 0
50.255 | 0
50.255 | 0
50.26 | 0
50.26 | 0
50.265 | 0
50.265 | 0
50.27 | 0
50.27 | 0
50.275 | 0
50.275 | 0
50.28 | 0
50.28 | 0
50.285 | 0
50.285 | 0
50.29 | 0
50.29 | 0
50.295 | 0
50.295 | 0
50.3 | 0
50.3 | 0
50.305 | 0
50.305 | 0
50.31 | 0
50.31 | 0
50.315 | 0
50.315 | 0
50.32 | 0
50.32 | 0
50.325 | 0
50.325 | 0
50.33 | 0
50.33 | 0
50.335 | 0
50.335 | 0
50.34 | 0
50.34 | 0
50.345 | 0
50.345 | 0
50.35 | 0
50.35 | 0
50.355 | 0
50.355 | 0
50.36 | 0
50.36 | 0
50.365 | 0
50.365 | 0
50.37 | 0
50.37 | 0
50.375 | 0
50.375 | 0
50.38 | 0
50.38 | 0
50.385 | 0
50.385 | 0
50.39 | 0
50.39 | 0
50.395 | 0
50.395 | 0
50.4 | 0
50.4 | 0
50.405 | 0
50.405 | 0
50.41 | 0
50.41 | 0
50.415 | 0
50.415 | 0
50.42 | 0
50.42 | 0
50.425 | 0
50.425 | 0
50.43 | 0
50.43 | 0
50.435 | 0
50.435 | 0
50.44 | 0
50.44 | 0
50.445 | 0
50.445 | 0
50.45 | 0
50.45 | 0
50.455 | 0
50.455 | 0
50.46 | 0
50.46 | 0
50.465 | 0
50.465 | 0
50.47 | 0
50.47 | 0
50.475 | 0
50.475 | 0
50.48 | 0
50.48 | 0
50.485 | 0
50.485 | 0
50.49 | 0
50.49 | 0
50.495 | 0
50.495 | 0
50.5 | 0
50.5 | 0