## Consultation response
Comment No | Comment | TSOs' reply
1a | Reducing FTR volumes effectively means that electricity suppliers have fewer opportunities to offer fixed-price contracts at lower prices. This does not support the competitiveness of Estonian companies. | TSOs acknowledge the importance of FI–EE LTTRs for suppliers’ fixed-price offerings. The core rationale is to ensure that LTTR auctions can be honoured without curtailment under the credible scenario of a single interconnector outage. For example, in 2024 and 2025, Estlink 2 was out of operation due to external damage for approximately half of the year. The TSOs’ proposal is considered proportionate, as it aims to ensure firmness and predictable hedging value.
1b | - At the same time, Elering aims to reduce its maximum annual risk related to cable failures and to align the level of risk with congestion revenue. Elering’s position is understandable, as preventing cable damage is largely beyond its control. However, the purpose of congestion revenue is to alleviate transmission bottlenecks, for example through investments such as the construction of Estlink 3. Last year, this revenue was also used to cover the costs of procuring frequency reserves. | TSOs agree, that congestion income should primarily be used in line with Regulation (EU) 2019/943, including maintaining and increasing interconnector capacity. LTTRs are remunerated on the basis of the congestion income which results from day-ahead cross-zonal trades and thereby there is an indirect link between the LTTRs and the physical transmission of electricity. The proposed LTTR cap also addresses the observed structural transfer of income from regional grid tariff payers (i.e. network users) to LTTR holders, including holders outside the region. A persistent net negative income reduces available resources and increases the burden on grid tariff payers. This concern is consistent with EU‑wide findings on LTTR undervaluation. In addition, intentional damaging of cross-border cables is out of the control of the TSOs and building another cable will not necessarily solve the situation. The use of congestion income collected by Elering for the procurement of frequency reserves in 2025 was based on guidance from the Estonian Ministry of Climate (letter of 16 October 2024, No. 21-2/24/4954) and approved by the Estonian NRA
1c | '- From the perspective of PPAs, the impact may be twofold. On the one hand, it is likely to reduce the availability of competing low-priced baseload-type (24/7) offers. On the other hand, for a customer purchasing an energy producer's entire output under a pay-as-produced structure, there would be fewer options to procure price-hedging instruments from the market to cover any shortfall in supply. | TSOs acknowledge the comment. The Estonian NRA position and guidance for PPA market development can be found "Pikaajaliste elektri ostu-müügilepingute analüüs ja ettepanekud 2025"
2a | - As an electricity market participant in the Finnish price area, we appreciate the opportunity to present our views on the matter. We are not supporting the amendment due to the following reasons: - Firstly, according to the Finnish Energy Authority, and based on Article 30(3) of the FCA Guidelines, the Finnish price area currently lacks sufficient hedging opportunities. We would like to note that the proposed amendment would further reduce these opportunities and therefore contradict the objectives set out in the FCA Guidelines. | TSOs acknowledge the concerns regarding Finnish hedging opportunities, but do not agree with the statement. The amendment does not remove yearly nor monthly LTTRs, but recalibrates the volumes to ensure firmness without curtailment when either of the Estlink interconnectors is unavailable, reflecting observed availability patterns from the past years.
2b | - Secondly, we note that the proposal seeks to mitigate the most extreme outcomes from TSOs point of view. While such an argument can be made, we see that preparing for the extreme cases does not well align with the goal of maximizing overall social welfare. | The TSOs' proposal is considered proportionate to ensure firmness and predictable hedging value. Recent Estlink outages in 2024 and 2025 demonstrate that long outage events are realistic, with repair times exceeding six months. System design must consider credible worst-case scenarios.
2c | - Should the amendment nevertheless be approved, we consider it essential that its application be strictly limited to a temporary period—for example, with a fixed validity period of one year. A time‑limited application would avoid transforming the currently elevated geopolitical risk into a base case assumption also going forward. | TSOs take note of the request for a time‑limited application. The LTCS is a methodology under FCA Article 16 and does not include an expiry mechanism; however, TSOs commit to monitoring interconnector availability, auction outcomes and the regulatory context, and to proposing further amendments if conditions materially change. Both TSOs and NRAs may request changes to the methodology when they see a need for it.
3 | - According to Article 16 section 2 point (a) of Regulation (EU) 2016/1719 the methodology for splitting long-term cross-zonal capacity shall meet the hedging needs of market participants. We understand that undervalued FTRs may indicate that the hedging needs of market participants in the Finnish and Baltic markets could be met by a lower volume of FTRs than the volume that is currently issued, however we see that the analysis should be supported by a preliminary breakeven volume calculation. Please elaborate on the breakeven volume of FTRs on the Finnish–Estonian border as that may be a key indicator in understanding if the hedging needs of the Finnish and Baltic market participants are met. | TSOs acknowledge the request for a preliminary break‑even volume calculation and have added it to the Annex 1.
4a | - The proposal by TSOs to reduce the FI-EE FTR volumes (1) is hurting the Baltics electricity market due to missing hedging alternatives in the derivatives market | TSOs recognise the limited availability of hedging instruments in the region. The methodology change is intended to preserve a sustainable LTTR issuance by ensuring firmness without curtailment under single interconnector outages, thereby protecting the reliability of the LTTR hedge. As there are hedging instruments available via exchange and OTC in Finland, but only via OTC in Estonia, the main concern is the hedging needs of the Estonian market. If we consider Estonia’s hedging demand per MTU to be 1,600 MW, and based on 2025 data indicating that 37% of electricity is imported, it can be assumed that approximately 60% of the hedging demand could be covered within Estonia, and only 40% would require hedging from other areas (EPAD or OTC). According to Estfeed datahub statistics, approximately 50% (depending on the season) of consumer contracts are fixed-duration (and thus likely fixed-price) contracts. Therefore, to continue offering fixed contracts at the current level, the required hedge volume reduces from 1,600 MW to approximately 640 MW (40%). As 50% of contracts are fixed, the estimated hedging need to be covered using FTRs for Estonian customers would ultimately be approximately 320 MW. Therefore, TSOs consider Estlink 1 capacity to be sufficient for Estonian market hedging needs. Regarding the overall Baltic electricity market need, it must be noted that Euronext has launched EPAD Vilnius, offering hedging in the Baltics. Moreover, Lithuanian and Swedish TSOs will start supporting EPAD Lithuania, with the project foreseeing an EPAD COMBO for the LT–SE border starting from 2027.
4b | - The proposal by TSOs to reduce the FI-EE FTR volumes (2) will rise the electricity prices to end consumers by reducing the hedging opportunities for electricity sellers | TSOs acknowledge the concern that reduced hedging instruments may influence retail risk premia. At the same time, persistent patterns where remuneration exceeds auction income create a net transfer from grid tariff payers to LTTR holders. This phenomenon is documented in the ACER MMR 2024 and is also observed on the FI–EE border during periods of normal operation. This implies that the current transfer of LTTRs value to retail prices is inefficient. TSOs consider that the costs associated with fixing electricity prices should be borne by those consumers who choose price certainty, rather than being socialised across all network users.
4c | - The proposal by TSOs to reduce the FI-EE FTR volumes (3) TSO analysis is missing important aspects that are not supporting TSO proposal | TSOs consider that the explanatory document provides the relevant operational and financial rationale, including interconnector availability trends and the firmness objective. In addition, TSOs will complement the package with a break‑even assessment as requested by the NRA to further support proportionality and transparency.
4d | - The proposal by TSOs to reduce the FI-EE FTR volumes (4) TSOs overrepresents TSO risks, while TSOs being the only ones having risk mitigation opportunities and ,attempts to destabilize the balance of risks even more towards market participants who's current existing risks are not taken into account. | The TSOs' proposal is considered proportionate to ensure firmness and predictable hedging value. Recent Estlink outages in 2024 and 2025 demonstrate that long outage events are realistic, with repair times exceeding six months. System design must consider credible worst-case scenarios. TSOs limit their risk exposure when offering LTTRs by aligning volumes with interconnector capacity and expected congestion income, the risk of unforeseen costs being passed on to network tariffs is reduced. In principle, LTTR-related risks should not be borne by network tariffs, as costs should follow beneficiaries (hedging users).
4e | - Today, there is already remarkable insecurity regarding the risks to be taken by market participants in case of interconnector failures and this proposal is increasing this insecurity further. We ask this proposal to be revoked in its entirety as very destructive and unnecessary. Instead we recommend to focus first on getting legal clarity on risk division in case of interconnector failures and then investigate if there is possible to set a reasonable ceiling to compensations taking into account all related bottleneck revenues. We will send a more detailed argumentation in separate e-mail in Estonian language both to Elering and to Estonian Competition Authority. | The TSOs do not agree. In a curtailment situation, the risk will be lower than currently, because the curtailed volume will be lower. TSOs take note of the broader request for legal clarity. This methodology amendment addresses the immediate need to ensure firm LTTR issuance under the prevailing interpretative context, while TSOs continue to engage in processes aiming at greater legal certainty on firmness and curtailment. The TSOs’ proposal is limited to the splitting methodology. While FCA Article 54 provides for the possibility of applying a compensation cap, this provision is explicitly linked to situations where LTTRs are curtailed. In other words, the cap mechanism is designed to limit compensation obligations arising from curtailment events. However, in the current regulatory context, the applicability of such a mechanism is significantly constrained. In November 2025, the Estonian NRA issued an injunction to Elering, providing clear guidance that FTRs must not be curtailed. This position is consistent with the interpretation also reflected in ACER’s Opinion 02/2025. As a result, the regulatory framework effectively removes curtailment as a viable risk mitigation tool. Consequently, the compensation cap foreseen under Article 54 cannot be relied upon in practice, as its application presupposes the ability to curtail FTRs. In the absence of curtailment, TSOs must manage financial exposure through ex-ante measures, primarily by adjusting the volume of FTRs offered. Therefore, reducing FTR volumes is a necessary and proportionate response under the current regulatory constraints.
5a | - We understand the TSOs’ concerns regarding regulatory uncertainty and potential compensation obligations. However, we are concerned that the proposed significant reduction of FI–EE FTR volumes (to up to 150 MW yearly and up to 200 MW monthly) may have disproportionate negative effects on market functioning. - Long-term transmission rights (FTRs) play a crucial role in enabling market participants to hedge cross-zonal price risks. A substantial reduction in available volumes would materially weaken hedging opportunities, reduce forward market liquidity, increase uncertainty in long-term contracting, and potentially distort competition between established and new entrants. In our view, the proposal risks undermining the objectives of the FCA Regulation, namely supporting efficient cross-zonal trade, price convergence, and well-functioning forward markets. - We therefore encourage TSOs and regulators to carefully reassess whether the proposed volume reductions are proportionate to the identified risks and whether alternative, more balanced solutions could be considered. | The TSOs’ proposal is considered proportionate, as it aims to ensure firmness and predictable hedging value. The proposed adjustment is designed to ensure that allocated LTTRs remain firm without curtailment under realistic single interconnector outage scenarios, thereby supporting predictable hedging outcomes. Please note that if LTTRs are curtailed, they are always curtailed proportionally. This means that offering even monthly LTTR volumes above the capacity of the smaller Estlink cable results in both yearly and monthly products being curtailed, meaning that full firmness is not achieved. Regarding the evaluation of hedging needs, TSOs consider the following: As there are hedging instruments available via exchange and OTC in Finland, but only via OTC in Estonia, the main concern is the hedging needs of the Estonian market. If we consider Estonia’s hedging demand per MTU to be 1,600 MW, and based on 2025 data indicating that 37% of electricity is imported, it can be assumed that approximately 60% of the hedging demand could be covered within Estonia, and only 40% would require hedging from other areas (EPAD or OTC). According to Estfeed datahub statistics, approximately 50% (depending on the season) of consumer contracts are fixed-duration (and thus likely fixed-price) contracts. Therefore, to continue offering fixed contracts at the current level, the required hedge volume reduces from 1,600 MW to approximately 640 MW (40%). As 50% of contracts are fixed, the estimated hedging need to be covered using FTRs for Estonian customers would ultimately be approximately 320 MW. Therefore, TSOs consider Estlink 1 capacity to be sufficient for Estonian market hedging needs. Regarding the overall Baltic electricity market hedging opportunities, it must be noted that Euronext has launched EPAD Vilnius, offering hedging in the Baltics. Moreover, Lithuanian and Swedish TSOs will start supporting EPAD Lithuania, with the project foreseeing an EPAD COMBO for the LT–SE border starting from 2027.
5b | - From a technical and market design perspective, the proposed reduction in FTR volumes on the FI–EE border would significantly alter the allocation of risk between TSOs and market participants. While the intention is to limit TSO exposure under extreme outage scenarios, such as the simultaneous unavailability of both Estlink interconnectors, the practical effect would be a structural transfer of price area risk to market participants without providing alternative hedging instruments. In particular, reduced annual FTR volumes are problematic because yearly products are essential for structuring long-term fixed-price supply agreements, enabling retail market entry strategies, and supporting investment and portfolio planning decisions. A structural reduction in yearly capacity would therefore weaken suppliers’ ability to offer competitive fixed-price products and may impair the development of a sufficiently liquid and reliable forward market in the region. | TSOs recognise the concern about risk allocation (see also TSO previous comment). Persistent patterns where remuneration exceeds auction income create a net transfer from grid tariff payers to LTTR holders. This phenomenon is documented in the ACER MMR 2024 and is also observed on the FI–EE border during periods of normal operation. This implies that the current transfer of LTTRs value to retail prices is inefficient. Market participants’ arguments focus only on availability, not pricing efficiency. TSOs consider that the costs associated with fixing electricity prices should be borne by those consumers who choose price certainty, rather than being socialised across all network users. If TSOs limit their risk exposure when offering FTRs by aligning volumes with interconnector capacity and expected congestion income, the risk of cost socialisation through tariffs is reduced. Taking into account MP feedback and taking more conservative estimations for congestion income calculations (price differences in normal and in outage situations, LTTR prices) TSOs will increasing the yearly volume to 200 MW and setting the monthly volume to 150 MW, while keeping the total FI-EE LTTR volume at 350 MW and thereby improving the long-term hedging availability while keeping the firmness objective unchanged and TSOs financial risk limited.
5c | - We recommend that any technical recalibration of FTR volumes should preserve forward market liquidity, ensure that sufficient yearly hedging opportunities remain available, and avoid creating structural entry barriers for new suppliers. We are currently assessing entry into the electricity retail market, and access to effective cross-zonal hedging instruments, particularly FTRs, is a key prerequisite for managing area price risk when offering fixed-price retail contracts. If FTR volumes are materially restricted, new market participants may face limited access to risk management tools, higher capital requirements, and increased exposure to cross-zonal price volatility. This would raise barriers to entry and reduce competitive pressure in the retail market, ultimately favouring larger or vertically integrated players with stronger balance sheets or alternative internal hedging capabilities. | TSOs acknowledge the importance of yearly products for retail entry and portfolio planning.
5d | - We believe that the competitive impact of the proposed amendment should therefore be explicitly assessed, particularly in relation to retail market competition, entry conditions for new suppliers, and the long-term development of the Baltic electricity market. While we acknowledge the TSOs’ need to manage financial risk prudently, we encourage a solution that balances system stability with market development, competition, and long-term market efficiency. | TSOs fully agree on the need for legal clarity. However, the present amendment to the methodology addresses the immediate need to ensure the firmness of LTTR issuance under the current interpretative framework, while TSOs continue to engage in processes aimed at achieving greater legal certainty regarding firmness and curtailment. The scope of the TSOs’ proposal is limited to the capacity splitting methodology.
6a | Executive Summary As a key participant in the Baltic wholesale and retail electricity markets, we are writing to express our categorical opposition to the proposed amendment regarding the Methodology for Splitting Long-Term Cross-Zonal Capacity (LTCS). We strongly oppose the proposal to cap Financial Transmission Right (FTR) capacities on the Finland-Estonia (FI-EE) border at 350 MW. Such a restriction is fundamentally misaligned with market needs and undermines the stability of cross-border trade. For Baltic market participants, FTR auctions serve as the primary forward hedging mechanism. The proposed capacity reduction represents a significant market contraction. In this response, we outline our concerns based on three main pillars: 1. Legal Considerations: The reduction contradicts the intent of EU regulations regarding market participant hedging needs and supplier obligations. A TSO’s disagreement or uncertainty regarding the interpretation of EU regulation does not justify altering market outcomes through methodology. Methodologies operate within the regulatory framework. 2. Shifting of Risks and Impact on End Prices: Transferring infrastructure availability risks to suppliers will inevitably increase end-user prices, which contradicts the owner's expectations set for the TSOs by the state. 3. Proposals: We propose offering the full installed interconnector capacity (1000 MW) to meet actual market demand, introducing Quarterly products for the FI-EE border to manage retail seasonality, and managing TSO financial risk through regulatory compensation caps rather than volume reductions. | The LTCS amendment is grounded in FCA Article 16 and is designed to meet hedging needs while remaining coherent with long‑term capacity calculation and ensuring non‑discriminatory access. FCA Art 16(2) requires the simultaneous fulfilment of three conditions: (a) hedging needs, (b) coherence with capacity calculation, and (c) no distortion of competition. Hedging availability cannot be assessed independently of firmness. Moreover, FCA Art 16(2)(c) does not require maximum volumes. Unrealistic volumes can distort competition through unreliable hedging. Congestion income is uncertain and flow-dependent and cannot be treated as a guaranteed buffer. During outages, day-ahead congestion income may be zero. According to the Methodology for sharing costs incurred to ensure firmness and remuneration of long-term transmission rights (FRC), remaining remuneration costs must ultimately be covered by other congestion income or TSO financial resources. Congestion income accumulated in previous years may already have been used or committed at the moment the risk materialises. If TSOs limit their risk exposure when offering LTTRs by aligning volumes with interconnector capacity and expected congestion income, the risk of unforeseen costs being passed on to network tariffs is reduced. In principle, LTTR-related risks should not be borne by network tariffs, as costs should follow beneficiaries (hedging users). Regulation 2019/943 Art 19: congestion income must be used for system benefit including supporting hedging opportunities, but not for arbitrage. The TSOs’ proposal is considered proportionate, as it aims to ensure firmness and predictable hedging value. The proposed adjustment is designed to ensure that allocated LTTRs remain firm without curtailment under realistic single interconnector outage scenarios, thereby supporting predictable hedging outcomes. It must be noted that the Estonian NRA has also guided that TSO risk from LTTRs is directly linked to issued volumes and that TSOs may design allocation methodology accordingly under FCA Article 16. Estonian NRA letter to Elering AS 11.11.2025 nr 7-17/25-0001-001: Põhivõrguettevõtja riski suurus LTTRide puhul sõltub otseselt muuhulgas ka väljaantavate LTTRide kogusest. FCA määruse artikli 16 lõike 1 järgi peavad iga võimsusarvutuse ala põhivõrguettevõtjad koos välja töötama metoodika ettepaneku piirkonnaülese võimsuse jagamiseks pikkade ajavahemike korral koordineeritud viisil erinevates võimsuse jaotamise ajavahemikes vastavas piirkonnas. Eeltoodud ettepanekus sätestatakse ka meetod, mille järgi toimub LTTRide (sh FTRide) koguste leidmine igaks ajavahemikuks. Põhivõrguettevõtja riskide piiramiseks on põhivõrguettevõtjal muu hulgas võimalik riske arvesse võtta FCA artikli 16 lõike 1 kohase metoodika väljatöötamisel. Lähtudes ACERi poolt Konkurentsiametile väljatoodust, võib väljaantavate LTTRide koguse leida või selle meetodi välja töötada eraldi analüüsi teel, mis peab olema kooskõlas FCA artiklis 16 lõikes 2 sätestatuga.
6b | 1. Legal Considerations and Market Principles The proposal to restrict FTR capacities creates a regulatory inconsistency for energy suppliers, as it limits our ability to meet statutory EU obligations designed to protect consumers and ensure market stability and is inconsistent with the FCA Regulation and HAR. ACER interpretative guidance further reinforces that compensation caps cannot serve as an independent legal basis for limiting allocated long-term transmission rights. • FCA Regulation (EU 2016/1719): Article 16.2(a) of the FCA Regulation dictates that the capacity splitting methodology "shall meet the hedging needs of market participants." By capping the FI-EE FTR capacity at the volume of the smaller cable (350 MW), the proposal does not adequately reflect the hedging needs of the Baltic market, especially given the lack of alternative liquid forward hedging mechanisms in the region. The splitting methodology under Article 16 of the FCA Regulation is intended to allocate calculated long-term cross-zonal capacity between products in a manner that reflects market hedging needs. It is not designed as a tool to proactively protect TSO balance sheets or credit ratings by structurally restricting the volume of hedging instruments available to the market. Such an approach shifts the focus of the methodology from market efficiency and hedging adequacy towards institutional financial risk avoidance, which is not the objective of the FCA Regulation. • EMD Directive (EU 2024/1711): The updated Electricity Market Design Directive outlines strict requirements for consumer protection and supplier responsibility. Article 11 requires suppliers to offer final customers fixed-term, fixed-price electricity supply contracts. Furthermore, Article 18a ("Supplier risk management") legally obligates suppliers to implement "appropriate hedging strategies, to limit the risk of changes in wholesale electricity supply." Significantly reducing the liquidity of the primary forward hedging tool makes it highly challenging for energy suppliers to comply with these requirements efficiently. • HAR (Harmonised allocation rules for long-term transmission rights adopted by ACER): The explanatory document accompanying the proposal suggests that the offered FTR volume should be calibrated to ensure that potential compensation obligations remain within the expected or additional congestion income available within the same year. However, the HAR already establish a clear and exhaustive mechanism for managing compensation exposure through an explicit cap on total compensation linked to congestion income. The regulatory framework therefore anticipates that curtailment and compensation may occur and provides an ex-post cap mechanism to manage financial exposure. Replacing this structured cap logic with a more restrictive ex-ante volume reduction (based on a conservative assumption of available additional congestion income) effectively creates a secondary cap that is not foreseen in the FCA Regulation or HAR. This approach alters the balance struck by EU regulation between firmness for market participants and financial safeguards for TSOs. • ACER Opinion 02/2025: We are aware that ACER opinions are not legally binding in the same manner as regulations, however, under Article 6(7) of Regulation (EU) 2019/942, ACER opinions constitute authoritative interpretative guidance. In opinion 02/2025, issued in response to the Estlink2 incident, ACER clarified that the existence of a compensation cap under Article 54 FCA Regulation does not constitute an independent legal basis for restricting or limiting long-term transmission rights. This confirms the structural logic of the FCA Regulation: long-term capacity is to be calculated and allocated based on capacity calculation methodologies, while compensation and cap mechanisms apply only if lawful curtailment conditions are met. • EU regulations cannot be amended through methodology: Elering AS has justified the proposed amendment by referring to regulatory uncertainty following the ACER Opinion 02/2025 and the Estonian NRA’s instruction not to curtail FTRs, arguing that this increases its financial exposure. However, disagreement or uncertainty regarding the interpretation of the FCA Regulation cannot justify altering the economic substance of long-term capacity allocation through a methodological change. The splitting methodology under Article 16 FCA Regulation must operate within, and remain consistent with, the FCA Regulation. If the current regulatory framework results in a risk allocation that Elering AS considers unsustainable, the appropriate remedy is amendment of the relevant EU regulatory provisions (e.g. the FCA Regulation or HAR), not structural modification of FTR volumes via methodology. A methodology cannot be used to achieve outcomes that the governing regulations do not permit. Doing so would effectively reshape the firmness regime without formal amendment of the underlying legal framework and would undermine legal certainty.
6c | 2. Shifting of Risks and Impact on End Prices The proposed reduction is based on a specific scenario—the simultaneous extended outage of both Estlink 1 and Estlink 2 combined with concerns regarding potential underselling of FTR products and compensation exposure. By reducing FTR volumes to mitigate financial exposure in this scenario, the TSOs are effectively shifting the risk of state-owned infrastructure availability and the commercial risk of low auction clearing prices onto private market participants and end-consumers. • Risk Ownership: The TSOs own, operate, and maintain the interconnectors. They collect congestion income specifically to manage grid constraints and ensure availability. Retail energy companies have no operational control over cable maintenance or repair schedules. Therefore, it is more economically efficient for the state to carry this macro-level infrastructure risk to facilitate a functioning open market, rather than transferring it to retail suppliers. • Impact on Retail Prices: If suppliers are denied sufficient hedging tools, the unhedged volatility risk must be priced into retail contracts. In light of this proposed amendment, we as a seller are already having to decline certain fixed-price customer deals and are adjusting our risk premiums upwards due to the anticipated decrease in hedging capacity. Baltic spot prices are highly volatile; limiting hedging possibilities will inevitably increase risk premiums across the board, raising prices for end-users. • Contradiction of Elering's Mandate: Shifting these costs to consumers contradicts the explicit expectations recently set by the Estonian Ministry of Climate for Elering AS: "Elering AS-i investeeringud energiasüsteemi arendamisse peavad arvestama lisaks igapäevasele tarbija varustuskindlusele Eesti energiajulgeoleku vajadusi, konkurentsivõimelist energia lõpphinda ning paindlikkusteenuste kasutamise võimalusi." Forcing suppliers to inflate retail prices with risk premiums works directly against the goal of maintaining a competitive final energy price. • Underselling and Market Design: Limiting offered volumes in order to address so-called underselling concerns is inconsistent with the optimisation principle set out in the HAR. The auction mechanism is designed to maximise overall market value. Artificially restricting volumes to prevent low clearing prices does not improve market efficiency, rather it reduces available hedging capacity and may distort price formation. Concerns related to liquidity or auction outcomes should be addressed through product design or participation measures, not through structural reductions of cross-zonal capacity. | FCA Art 16(2)(c) does not require maximum volumes. Unrealistic volumes can distort competition through unreliable hedging. Evidence suggests that currently offered FI-EE LTTRs capacity may exceed actual demand for LTTRs participants seeking hedging (underselling). Persistent patterns where remuneration exceeds auction income create a net transfer from grid tariff payers to LTTR holders. This phenomenon is documented in the ACER MMR 2024 and is also observed on the FI–EE border during periods of normal operation. This implies that the current transfer of LTTRs value to retail prices is inefficient. This may indicate that a share of LTTRs is acquired with the expectation of profit rather than for hedging purposes. Moreover, TSOs consider that the costs associated with fixing electricity prices should be borne by those consumers who choose price certainty, rather than being socialised across all network users. The TSOs' proposal is considered proportionate to ensure firmness and predictable hedging value. Recent Estlink outages in 2024 and 2025 demonstrate that long outage events are realistic, with repair times exceeding six months. System design must consider credible worst-case scenarios. Regulation 2019/943 Art 19 foresees that congestion income must be used for system benefit, including supporting hedging opportunities, but not for arbitrage. Elering AS consider this to be in line with expectations set by the Estonian Ministry of Climate.
6d | 3. Our Proposal: Full Capacity, Quarterly Products, and Regulatory Caps To ensure a well-functioning market that balances risk appropriately, we propose the following adjustments to the methodology: • Offer Full Nominal Capacity (1000 MW): We strongly advocate that Elering and Fingrid offer the entire combined nominal volume of the interconnectors (350 MW + 650 MW = 1000 MW) to the FTR auctions. The Baltic electricity market currently lacks sufficient alternative liquid forward hedging possibilities. There is a demonstrated need for more, not fewer, hedging instruments to support market stability. Under normal operational conditions, the day-ahead spot price formation between Finland and Estonia is dictated by the full 1000 MW of transmission capacity. To effectively manage their portfolios and hedge this spot price exposure, suppliers require access to forward volumes that reflect this physical reality. Reducing the offered capacity to 350 MW artificially restricts the market, leading to decreased liquidity and less efficient price discovery. • Introduce Quarterly Products on the FI-EE Border: Considering the pronounced seasonality of electricity consumption and retail sales throughout the year, it would be highly beneficial to introduce Quarterly FTR products. Retail portfolios have distinct profiles; for instance, winter months exhibit significantly higher demand and distinct price volatility due to heating needs, which differ greatly from summer market dynamics. Currently, relying solely on a combination of Yearly and Monthly products leaves a structural gap. Yearly products are often too broad and inflexible to manage these seasonal risk variations efficiently. Conversely, Monthly products are too short-term to provide the long-range stability needed to back standard 12-to-24-month fixed-price retail contracts. Quarterly products would provide the necessary medium-term granularity for suppliers to accurately align their hedging strategies with natural retail consumption cycles. • Apply a Total Compensation Cap: Rather than reducing the upfront capacity offered to the market, TSOs should manage their financial risk using the mechanisms already established in the FCA Regulation and further detailed in the HAR. Article 54 of the FCA Regulation explicitly allows TSOs to propose a cap on the total compensation to be paid to all holders of curtailed long-term transmission rights (not lower than the total amount of congestion income collected). Pursuing the application and regulatory approval of such caps is a much more realistic and market-friendly approach to managing financial exposure than drastically reducing market liquidity. | Regarding the evaluation of hedging needs, TSOs consider the following: As there are hedging instruments available via exchange and OTC in Finland, but only via OTC in Estonia, the main concern is the hedging needs of the Estonian market. If we consider Estonia’s hedging demand per MTU to be 1,600 MW, and based on 2025 data indicating that 37% of electricity is imported, it can be assumed that approximately 60% of the hedging demand could be covered within Estonia, and only 40% would require hedging from other areas (EPAD or OTC). According to Estfeed datahub statistics, approximately 50% (depending on the season) of consumer contracts are fixed-duration (and thus likely fixed-price) contracts. Therefore, to continue offering fixed contracts at the current level, the required hedge volume reduces from 1,600 MW to approximately 640 MW (40%). As 50% of contracts are fixed, the estimated hedging need to be covered using FTRs for Estonian customers would ultimately be approximately 320 MW. Therefore, TSOs consider Estlink 1 capacity to be sufficient for Estonian market hedging needs. TSOs take note of the proposed alternatives of quarterly products. The LTCS scope is limited to splitting of long‑term cross‑zonal capacity. TSOs are willing to further assess quarterly products; however, quarterly products are not introduced in this amendment as this is a subject of Baltic Capacity Calculation Region’s Regional Specific Annex to the Harmonised Allocation Rules for Long-Term Transmission Rights in accordance with Article 52 of Commission Regulation (EU) 2016/1719 of 26 September 2016 establishing a Guideline on Forward Capacity Allocation (HAR Regional Annex). While FCA Article 54 provides for the possibility of applying a compensation cap, this provision is explicitly linked to situations where LTTRs are curtailed. In other words, the cap mechanism is designed to limit compensation obligations arising from curtailment events. However, in the current regulatory context, the applicability of such a mechanism is significantly constrained. In November 2025, the Estonian NRA issued an injunction to Elering, providing clear guidance that FTRs must not be curtailed. This position is consistent with the interpretation also reflected in ACER’s Opinion 02/2025. As a result, the regulatory framework effectively removes curtailment as a viable risk mitigation tool. Consequently, the compensation cap foreseen under Article 54 cannot be relied upon in practice, as its application presupposes the ability to curtail FTRs. In the absence of curtailment, TSOs must manage financial exposure through ex-ante measures, primarily by adjusting the volume of FTRs offered. Therefore, reducing FTR volumes is a necessary and proportionate response under the current regulatory constraints.
7a | Leiame, et süsteemihaldurite taotlus vähendada FTR-ide pakkumist EE-FI piiril ei ole komisjoni määruse (EL) 2016//1719 (FCA) ja faktiliste asjaoludega põhjendatud ning tuleb jätta esitamata. 1. Nõustume süsteemihalduritega, et süsteemihaldurid: • kannavad vastutust piiriüleste ühenduste töökindluse eest; • vastutavad võrgu opereerimise, varustuskindluse ja kriisikindluse eest; • kannavad oma ülesannetes nii tehnilisi, operatiivseid kui ka finantsriske. Selline vastutus ja tagajärjed tulenevad mh. Euroopa Parlamendi ja Nõukogu määrusest (EL) 2019/943, Komisjoni määrusest (EL) 2016//1719 (FCA) ja siseriiklikust õigusest. Seejuures on süsteemihalduri ülesannete õigeaegse, eesmärgipärase täitmine kriitilise tähtsusega energiaturu toimimisele. See ei ole võimalik ilma regulaatori pideva ja kvaliteetse ning toimiva järelevalve süsteemihaldurite tegevuse üle. Seega on selge, et pikaajaliste ülekandeõiguste (LTTR, sh. FTR) müümisel võtavad süsteemihaldurid finantskohustuse, mille täitmine võib olukordades (nt ühe või mõlema ESTLINK kaabli samaaegne rike) suurendada süsteemihalduri rahavoogude kõikumist, mis on tavapärane finantsriski kandmine. Juhime tähelepanu, et kuigi süsteemihaldurid on käesoleva konsultatsiooni algatanud põhjendusega, et ülalkirjeldatud riskid esinevad, siis on süsteemihaldurid vastupidiselt sellistele põhjendustele oma 2024. ja 2025. aasta otsustega vastavate riskide olemasolu eitanud. Täpsemalt on Eesti ja Sooime süsteemihaldurid koordineeritult FI-EE suunaliste FTR-ide (sh perioodil 28.01.2024-29.02.2024 ja 27.12.2024-31.01.2025) osas vääramatule jõule tuginemise tõttu maksnud turuosalistele omandatud ning kehtivate FTR-de alusel väljamaksmisele kuuluvat hüvitist vähem, kui näeb ette FCA artikkel 35 (3) a. Ehk sisuliselt enda finantsriskide kandmise vastutusest kõrvale hoidnud. Kuna samaaegselt ei ole võimalik olukord, et esineb süsteemihaldurite risk ja et sellist riski ei esine, siis palume regulaatoritel konsultatsiooni algatanud süsteemihalduritega suheldes selgelt tuvastada, et süsteemihalduritel selline risk (nõustumata siinkohal sellise riski ulatusega ja selle maandamise ettepanekuga) päriselt esineb, mis tähendab ka kohustust selle riski tagajärgi kanda (sh. täita FCA art 34 (3) a nõudeid). Mõistame käesoleva konsultatsiooni algatamisest, et süsteemihaldurite viimane seisukoht on, et FTR-idega seotud riskid esinevad, mis tähendab ka tunnistamist, et FTR-idega seotult kannavad süsteemihaldurid kohustust turuosaliste ees vastavalt FCA määrusele (sh kompenseerimise kohustust vastavalt FCA art 34 (3) a). Süsteemihaldurite finantsinstrumentidega (FTR) seotud kompenseerimise kohustustest ebaseaduslik hoidumine on juba muutnud FTR-id EE-FI piiril sisutuks, mis vajab regulaatorite kohest sekkumist. | Regulatory uncertainty increases risk exposure for both TSOs and market participants. It should be noted that there are two distinct legal uncertainties: one related to past curtailment decisions (force majeure), and another concerning potential limitations on future curtailment. Namely, on 24 November 2025, the Estonian NRA issued an injunction to Elering, officially prohibiting the curtailment of FTRs on the Estonian–Latvian bidding zone border, using the same reasoning as presented in ACER’s opinion. Although Elering challenged this injunction in court, until a court decision is reached, there remains a regulatory risk that the TSO’s financial exposure when offering FTRs would not be limited by congestion income and CAP as approved by Estonian and Finnish NRA in the HAR Regional Annex. Until greater legal clarity is achieved, TSOs will continue to act in accordance with the FCA Regulation, including Article 56. Present amendment to the methodology addresses the immediate need to ensure the firmness of LTTR issuance under the current interpretative framework, while TSOs continue to engage in processes aimed at achieving greater legal certainty regarding firmness and curtailment.
7b | 2. FTR-ide toime kaotamine, nende mahu vähendamine või kaotamine oleks otseselt vastuolus FCA määruse eesmärgiga. Vaidlust ei ole selles, et FCA artiklid 3, 16 näevad selgelt ette, et FCA eesmärgiks on turuosaliste pikaajaliste riskimaandamise võimaluste tagamine ning et sellise eesmärgi täitmisel kohustatakse, et võimsuse jagamise metoodika peab arvestama turuosaliste riskimaandamise vajadust ega tohi piirata konkurentsi. Need eesmärgid on siduvad. FCA ei käsitle riskimaandamisvahendeid (sh. FTR) kui süsteemihaldurite diskretsioonilist teenust, vaid kui siseturu toimimise lahutamatut osa. Samuti ei ole vaidlust selles, et ACER-i praktika kinnitab, et FTR on finantskohustus, mille täitmine ei ole sõltuv elektronide reaalse ülekandmisega. ACER arvamus 02/2025 selgitas, et füüsilise kaabli rike ei muuda FTR-idest, kui finantsinstrumentidest, tulenevate finantskohustuste täitmist võimatuks. Vastupidi – FCA eesmärk on riskimaandamise tagamine, mille vältimatu osa on, et süsteemihaldurid täidavad enda kohustusi ja selliste kohustuste maksmapanek on õiguslikult usutav. FTR-i mahtude vähendamine ei ole õigustatud ja põhjendatav FCA alusel. Turuolukorra analüüs ei võimalda põhjendada pikaajaliste riskimaandamise instrumentide vähendamist või kaotamist, vaid vastupidi- selliste instrumentide suuremat vajadust ning nende toime tagamist. EE-FI hinnavahe on ajalooliselt kõrgeimatel tasemetel ja ülimalt volatiilne. Kuna EE-FI hinnavahe risk on suur, siis on ka vajadus selle riski maandamise järele suur. Hinnariski maandamise võimaluse tagamine piisavas koguses on turu toimimise tagamiseks hädavajalik. Ülekoormus EE-FI piiril on ülisuur: 2025 teisel poolaastal oli voog Soomest Eestisse keskmiselt 850 MW, mis on peaaegu maksimaalne võimalik voog. Selle sissevoolava elektri hinda ei saa muul moel fikseerida kui läbi FTR. Konkurentsivõimelise hinnaga tootmisvõimsust, millega jaeklientidele vajaliku profiili ja kindlusega elektrit pakkuda, napib. Kuna Baltikumis tarbimine ületab elektritootmist, siis sõltutakse nii varustuskindluse kui ka hinna osas naaberriikidest. Seetõttu on EE-FI FTR-i ja Soome turuhinna abil riskide maandamine tänasel hetkel ainuvõimalik alternatiiv Eesti ja ka ülejäänud Baltimaade hulgiturul. Balti elektriturul puuduvad ilma FTR-ita piisavad riskimaandamise võimalused. See vähenegi kauplemine, mis turuosaliste vahel aset leiab, toetub suuresti FTR mahtudele. Kui FTR mahtu vähendada, siis see oluliselt vähendab riskimaandamise võimalusi ja turuosalised ei pruugi saada oma riske täielikult maandada. Kui FTR mahtu vähendatakse, siis elektrimüüjad, kes olulisel määral toetuvad FTR-idele otse läbi ise oksjonitel osalemise või kaudselt läbi oksjonitel otse osalenud kauplejate käest riskimaandamise instrumentide ostmise, saavad oma riske vähem lukustada. See omakorda vähendab konkurentsi elektriturul. Samaaegselt toimub Euroopa Parlamendi ja Nõukogu direktiivi (EL) 2024/1711 ülevõtmine Eesti õigusesse, mis käsitleb muu hulgas avatud tarnijatele seatavat kohustust võtta kasutusele asjakohaseid ja piisavaid riskimaandusstrateegiaid, ning regulaatori kohustust teostada selle üle järelevalvet, eesmärgiga vähendada tarnehäirete riski realiseerumist tarbijale. Täpsemalt on sellise regulatsiooni taotlus kaitsta elektritarbijat, et fikseeritud hinnaga lepingute puhul kehtiks lepingus kokkulepitud hind kuni lepingu tähtaja lõpuni ka energiahinnakriiside ajal. Arvestades, et kohalik elektri jaeturg toetub väga olulises mahus FTR-ile hinnariski maandamiseks ja on vastavalt kohanenud, tekib suur oht, et jaemüüjatel ei ole võimalik antud direktiiviga ülevõtmiseks ettenähtud kohustusi täita kui vastavaid riskimaandusmeetmeid piisavas mahus ei pakuta või need on ebapiisava järelevalve tõttu toimeta (punkt 1.). | The LTCS amendment is grounded in FCA Article 16 and is designed to meet hedging needs while remaining coherent with long‑term capacity calculation and ensuring non‑discriminatory access. FCA Art 16(2) requires the simultaneous fulfilment of three conditions: (a) hedging needs, (b) coherence with capacity calculation, and (c) no distortion of competition. Hedging availability cannot be assessed independently of firmness. Moreover, FCA Art 16(2)(c) does not require maximum volumes. Unrealistic volumes can distort competition through unreliable hedging. Evidence suggests that currently offered FI-EE LTTRs capacity may exceed actual demand for LTTRs participants seeking hedging (underselling). TSOs will also provide a break‑even assessment as part of the proposal package. Persistent patterns where remuneration exceeds auction income create a net transfer from grid tariff payers to LTTR holders. This phenomenon is documented in the ACER MMR 2024 and is also observed on the FI–EE border during periods of normal operation. This implies that the current transfer of LTTRs value to retail prices is inefficient. This may indicate that a share of LTTRs is acquired with the expectation of profit rather than for hedging purposes. Moreover, TSOs consider that the costs associated with fixing electricity prices should be borne by those consumers who choose price certainty, rather than being socialised across all network users. TSOs acknowledge your concerns on implementing Directive 2024/1711. The Estonian NRA position and guidance for PPA market development can be found "Pikaajaliste elektri ostu-müügilepingute analüüs ja ettepanekud 2025
7c | 3. Tunnistades süsteemihaldurite vajadust vähendada enda riske tuleb kõigepealt kontrollida kas sellised riskid on juba piisavalt maandatud ja kui esineb vajadus täiendavate meetmete järele, siis milline neist ei võimaldab seda teha minemata vastuollu FCA eesmärgiga ning on kooskõlaline proportsionaalsuse, õiguspärase ootuse, õiguskindluse ning vaba turu kaitse põhimõtetega. FTR-mahtude vähendamine süsteemihalduri finantsriski vähendamise eesmärgil ei ole vajalik, kui olemas on vähem piiravad ja turuosaliste õigusi vähem riivavad meetmed (nt kompensatsioonilaed). Näiteks oleks turuosalisi oluliselt vähem riivavam kompensatsioonilae süsteem, mis sõltub rikke algusele eelneval 12 kuul ja teenitud nn. pudelikaelatulude mahust ja kõnealuse kuu pudelikaelatulu mahust. Sellise lähenemise plussid: • ostjatel on olemas selgus hüvitise laest; • Süsteemihaldurite jaoks on finantsrisk piiratud; • lähenemine ei nõuaks curtailmenti läbi force majeure rakendamise või siis operational security limits tagamise, sest tegemist oleks lihtsalt väljamakse piiramise eritingimusega, mis rakendub igal juhul; • sõnastuse saab lisada Harmonized Allocation Rules’I Baltic Annex dokumenti; • Kuna FTR finantskohustused on selgemalt defineeritud ja piiratud, siis ka force majeure rakendamise osas langeks vaidluse oht oluliselt selles osas, et mida defineeritakse kui finantsiliselt võimatut olukorda süsteemihaldurite jaoks. Turuosalised omandavad FTR-e FCA reeglite järgi. Kui pärast instrumentide ostmist lubatakse kaotada nende toime (kui süsteemihaldurite omavolile ei järgne regulaatori otsustavat tegevust) või piiratakse nende kättesaadavust, kahjustab see õiguspärast ootust ja õiguskindlust ning kajastub pikaajaliste fikseeritud hinnaga lepingute kõrgemates hindades, turuosalistele õigusvastaselt tekitatud kahjus, ning võimalik et pikaajaliste fikseeritud hinnaga lepingute pakkumise lõpetamises. FTR-ide mahu vähendamine oleks vastuolus FCA artikliga 16 2. c, sest: • piiraks riskimaandamise meetmetele juurdepääsu; • tõstaks turule sisenemise barjääre; • vähendaks jaeturul konkurentsi; • tõstaks tarbijatele hindu. Kokkuvõtvalt: • Süsteemihaldurite finantsriskide maandamine on seoses FTR-ide kui finantsinstrumentidega seotud kohustuste osas kaetud juba kehtivalt ülekoormustulu, tariifide ja riikliku regulatiivse järelevalve kaudu. • FCA määrus ei võimalda õigustada süsteemihalduril oma kohustustest hoidumise eesmärgil FTR-ide mahu vähendamist või kaotamist; • Õiguslikult on lubamatu olukord, kus süsteemihalduril võimaldatakse finantsinstrumentidega (FTR) seotud kompenseerimise kohustusest ebaseaduslikult hoiduda, mis on juba muutnud FTR-id EE-FI piiril turuosaliste jaoks riskimaandamise eesmärgil sisutuks, mis vajab regulaatorite kohest sekkumist; • Süsteemihaldurite ettepanek tuleb jätta esitamata, sest see ei ole põhjendatud ning palume regulaatoril viivitamatult viia läbi toimingud, et lõpetada Eesti ja Soome süsteemihaldurite omavoli, mille tagajärjel on FTR-id FI-EE piiril olemasolevas mahus ja FCA-st tulenev eesmärk juba muudetud sisutuks. | The purpose of the amendment is forward‑looking: to ensure FI–EE LTTR issuance can continue with firmness without curtailment under realistic operational conditions, particularly where either Estlink 1 or Estlink 2 is unavailable. The objective is to ensure allocated LTTR volumes remain deliverable without relying on curtailment. TSOs further note that the proposal also addresses the economic effect of persistent net transfers from congestion income to LTTR holders, including outside the region, which affects regional grid tariff payers; this is consistent with EU‑wide findings on LTTR undervaluation. TSOs will also provide a break‑even assessment as part of the proposal package. While FCA Article 54 provides for the possibility of applying a compensation cap, this provision is explicitly linked to situations where LTTRs are curtailed. In other words, the cap mechanism is designed to limit compensation obligations arising from curtailment events. However, in the current regulatory context, the applicability of such a mechanism is significantly constrained. In November 2025, the Estonian NRA issued an injunction to Elering, providing clear guidance that FTRs must not be curtailed. This position is consistent with the interpretation also reflected in ACER’s Opinion 02/2025. As a result, the regulatory framework effectively removes curtailment as a viable risk mitigation tool. Consequently, the compensation cap foreseen under Article 54 cannot be relied upon in practice, as its application presupposes the ability to curtail FTRs. In the absence of curtailment, TSOs must manage financial exposure through ex-ante measures, primarily by adjusting the volume of FTRs offered. Therefore, reducing FTR volumes is a necessary and proportionate response under the current regulatory constraints.
8a | We welcome the opportunity to respond to this consultation. We support the issuance of LTTRs in the Baltic region, including on the Estonian-Finnish border. However, the proposed limitation of capacity would materially undermine the functioning of forward markets and appears to lack sufficient technical or legal justification. Well-functioning forward markets are essential to Europe’s electricity market design and to the energy transition. The majority of electricity transactions occur ahead of delivery, enabling market participants to manage price risk, enhance cost predictability for consumers, and support long-term contracting, including power purchase agreements (PPAs) that underpin investment in renewable generation. In this context, LTTRs (issued as FTR options in the Baltic region) are important instruments for hedging cross-zonal price differentials. While they represent a relatively small share of overall forward volumes, they play a key role in facilitating cross-border trading, supporting market liquidity, and contributing to efficient price formation. Their importance is even greater in regions where forward market liquidity is low and market participants must rely on LTTRs. Structural under-allocation of LTTR capacity weakens cross-border hedging opportunities, reduces market liquidity, and ultimately increases risk premia that are borne by consumers- particularly in countries that rely on electricity imports. We therefore oppose the proposed reduction of LTTR auction volumes on several grounds. | TSOs acknowledge the importance of well-functioning forward markets and the role of LTTRs in cross‑zonal hedging.
8b | 1. Interconnector outages cannot justify arbitrary limitations on LTTR volumes Interconnector outage risk is already reflected in capacity calculation methodologies and in the pricing of LTTRs by market participants. Using potential outages as a structural justification to cap LTTR volumes, therefore, constitutes an arbitrary and disproportionate restriction rather than a technical necessity. Moreover, the proposed LTTR volumes represent only slightly less than one-third of the total interconnector capacity. In this context, invoking potential outages to justify a further artificial reduction of capacity is neither proportionate nor economically justified. | TSOs clarify that the limitation is not arbitrary; it is based on ensuring LTTR firmness without curtailment when either of the Estlink interconnectors is unavailable, as supported by observed availability trends. Volumes higher than 350 MW would make firmness dependent on curtailment measures whose applicability is uncertain in the current interpretative context for FTRs. The TSOs do not see this as mitigating the most extreme outcomes, but as finding a way to safeguard the FTR-market in a new reality, where intentional cable damaging is a reoccurring phenomenon.
8c | 2. Misaligned perception of „underselling“ The Baltic TSOs’ proposal rests on a perceived “undervaluation” of LTTRs, which we strongly disagree with. LTTR auction prices reflect the value attributed to these rights by market participants at the time of the auction. To do so, they take into account the forward market spread at the time of the auction, a risk premium, and additional factors such as expected demand, firmness, and interconnector availability. These prices incorporate all relevant risks, including credit, capital cost, and potential outages. The auction price is not a floor for the realised day-ahead spread. Using historical or day-ahead spreads to assess the value of LTTRs allocated months to years before — or to limit allocated volumes - is methodologically flawed and inconsistent with the forward-looking nature of these instruments. | TSOs note that auction prices reflect market valuation at the time of auction; however, persistent patterns where remuneration exceeds auction income create a net transfer from grid tariff payers to LTTR holders. This phenomenon is documented by ACER in the 2024 Market Monitoring Report and is also observed on FI–EE for periods with normal operation.
8d | 3. Misconception of Congestion Income Maximisation LTTR allocation should not be guided by the goal of maximising TSO congestion income, as doing so contradicts the relevant legislation, notably: - Art. 9.1/2 of the Electricity Regulation 2019/943: “Transmission system operators shall issue long-term transmission rights or have equivalent measures in place to allow market participants, including owners of power-generating facilities using renewable energy, to hedge price risks […]. Long-term transmission rights shall be allocated regularly, in a transparent, market-based and non-discriminatory manner through a single allocation platform. The frequency of allocation and the maturities of the long-term cross-zonal capacity shall support the efficient functioning of the Union’s forward markets. - Art. 16.2 of the FCA Regulation 2016/1719: “The methodology for splitting long-term cross-zonal capacity shall comply with the following conditions: a) it shall meet the hedging needs of market participants; b) it shall be coherent with the capacity calculation methodology; c) it shall not lead to restrictions in competition, in particular for access to long-term transmission rights. TSOs should allocate capacity strictly based on the physical capabilities and operational needs of the grid. It is not their role to withhold transmission capacity to influence market outcomes or maximise their own congestion income. Market participants, not TSOs, should decide how to use the available capacity at the prices offered. As owners and/or operators of interconnectors, TSOs effectively hold a natural hedge which should be fully and promptly made accessible to the market. Restricting this capacity based on expected price developments, or using it to inflate LTTR prices, risks distorting the market and could be seen as anti-competitive behaviour. | TSOs confirm that the objective is not congestion income maximisation. FCA Art 16(2)(c) does not require maximum volumes. Unrealistic volumes can distort competition through unreliable hedging. The relevant concern is safeguarding regional grid tariff payers from persistent net transfers and ensuring that LTTR issuance remains sustainable and firm. This is consistent with ACER’s EU‑wide MMR 2024 assessment of LTTR undervaluation and net transfers. ACER identifies structural issues in forward markets, including uneven liquidity and the presence of speculative participation. Stable and credible instruments support sustainable competition. ACER explains undervaluation as follows: a negative ex-post risk premium is usually driven by insufficient competition. Evidence suggests that currently offered FI-EE LTTRs capacity may exceed actual demand for LTTRs participants seeking hedging. This may indicate that a share of LTTRs is acquired with the expectation of profit rather than for hedging purposes. Regulation 2019/943 Art 19 foresees that congestion income must be used for system benefit, including supporting hedging opportunities, but not for arbitrage. The TSOs will provide a break‑even assessment as part of the proposal package in Annex 1. The analysis shows that the current capacity split can lead to systematic underselling, thereby motivating the proposed update to the splitting methodology. However, the TSOs do not propose to mechanically align auction volumes with the break-even results. Instead, the TSOs propose that a cap of maximum offered capacity of FI-EE FTRs is set at 350 MW, corresponding to the capacity of Estlink 1, even if the break-even volume analysis would suggest a lower value.
8e | Range of products: We welcome the fact that the TSOs allocate not only yearly and monthly products at the concerned borders but also quarterly products. | For FI–EE, the current amendment concerns yearly and monthly products. TSOs are willing to further assess quarterly products, but they are not introduced in this amendment, because this methodology does not have the legal basis for adding the quarterly products.
8f | Availability of LTTRs as early as possible: For market participants, hedging is about managing a range of risks, including price, volume, and regulatory risks. The further from real-time, the more important it is to secure protection, particularly across borders. LTTRs play a key role in mitigating these risks through cross-border and proxy hedging. | TSOs acknowledge the importance of early availability of hedging instruments.
8g | Dynamic splitting between yearly, quarterly and monthly products: We believe that the split between yearly, quarterly and monthly products should be better performed by the market itself. TSOs should therefore make the maximum technically available capacity accessible to the market as early as possible. All capacity calculated a year ahead should be offered in full. Releases of additional capacity at shorter horizons (quarterly or monthly) should come from recalculations or gradual reductions of the margins and constraints initially applied, reflecting the reduction of uncertainties closer to real-time. For clarity, some market participants may seek hedging only for specific months and may be unwilling or unable to actively manage yearly transmission rights on the secondary market. TSOs should therefore consider offering the full year-ahead calculated capacity not only through annual products, but also through monthly products auctioned a year in advance. In practice, TSOs could structure year-ahead, quarterly, and monthly auctions around monthly granularity, with the possibility of bundling these into quarterly or annual blocks. Separating the timing of allocation from product granularity would allow the market itself to determine the most efficient split between annual and monthly hedging needs, ensuring that capacity is allocated in line with actual demand rather than through administrative design choices. We recommend: - Issuing LTTRs at maximum available capacity, at all Baltic bidding zone borders - TSOs to start offering LTTRs with longer maturities (3-5 years) to support the forward markets and facilitate the uptake of cross-border PPAs | TSOs note the view that the market should determine the split. Under FCA Article 16, TSOs must define a splitting methodology that both meets hedging needs and ensures deliverability and firmness. Taking into account MP feedback and taking more conservative estimations for congestion income calculations (price differences in normal and in outage situations, LTTR prices) TSOs will consider increasing the yearly volume to 200 MW and setting the monthly volume to 150 MW, while keeping the total FI-EE LTTR volume at 350 MW and thereby improving the long-term hedging availability while keeping the firmness objective unchanged and TSOs financial risk limited.
9a | 1. Introduction Having carefully read the explanatory document of the proposal, we understand that the main motive behind putting forward this proposal is the increased financial risk of TSOs (point 5 of the explanatory document), which is stemming from the Opinion of ACER (issued on 11.04.2025) and injunction issued by Estonian NRA on 24.11.2025. All other arguments, which were put forward in explanatory document, are rather “complementary” and meant to support the main motive to bring down the financial risk of TSOs. Although we understand the concerns of TSOs regarding interpretation of the applied legislation, we cannot support the approach, which the TSOs are exploiting to defend their interest (meaning, promoting their interests on expense of the interests of other market participants). | TSOs note the interpretation that financial risk is central. TSOs clarify that the primary operational driver is ensuring LTTR issuance can continue without curtailment under single interconnector outages. The changed interpretative context for curtailment of FTRs further increases the need to ensure that issued volumes remain firm without relying on curtailment. The main motive of this proposal is to safeguard the FTR-market in a new reality, where intentional cable damaging is a reoccurring phenomenon, while simultaneously find the correct volume level, where the FTRs are no longer undervaluated.
9b | 2. Current situation in the Baltic financial electricity market 2.1 There is no transparent financial electricity market in the Baltic states currently. There are number of reasons why viable financial electricity market does not exist in the Baltics. Starting from very small size of Baltic bidding areas, acute lack of competitive power generation capacities etc. Although Swedish TSO and Euronext have announced that they are preparing for the launch of Lithuanian EPADs by the end of 2026, this will not change the current situation in the Baltics because launching Lithuanian EPADs will not remove the root causes of the problem. Due to the latter, these EPAD’s (if launched) remain of low liquidity and their number short of market expectations. | TSOs acknowledge the structural challenges of forward market liquidity in the Baltics. Elering and Fingrid note that the Lithuanian and Swedish NRAs, together with Svenska kraftnät and Litgrid, have concluded that the EPAD Combo solution enhances hedging opportunities in Lithuania, as otherwise either no instruments or only LTTRs would have been available on the Lithuanian–Swedish border.
9c | 2.2 For this reason, the Baltic market participants have called for merger of Baltic bidding areas so that Baltic regional financial electricity market could emerge on the basis of bigger market area. Unfortunately, this initiative has been blocked by Baltic TSOs. Under the circumstances, Finnish EPAD market serves as the main hedging opportunity for Baltic market participants and FI-EE FTRs are the only instruments, which enable to cover the (very high and volatile) price risk between Finnish and Estonian bidding areas. | The scope of the LTCS is limited to the splitting and issuance of LTTRs on the FI–EE border. However, TSOs emphasise that the merger of Baltic bidding zones could distort market price signals, thereby reducing transparency on where investments are most needed, particularly in relation to physical transmission constraints and generation and reserves adequacy deficits.
9d | 2.3 Article 16(2) of the Forward Capacity Allocation (FCA) regulation stipulates that methodology for splitting long-term cross-zonal capacity “shall meet the hedging needs of market participants”. By this proposal the TSOs propose to cut the amounts of FI-EE FTRs by almost 50% (from 650 MW to 350 MW) and they still claim in amended version of the methodology that this methodology fulfils the requirement of Article 16(2) “as it ensures the availability of LTTRs for market participants at least for yearly and monthly timeframes”. We kindly disagree with this opinion of TSOs and claim that under the current circumstances the reduced amounts of FTRs (150 MW for yearly and 200 MW for monthly products), which are proposed by TSOs, will not enable to meet the hedging needs of Baltic market participants. | TSOs note the disagreement regarding hedging sufficiency. Evidence suggests that currently offered FI-EE LTTRs capacity may exceed actual demand for LTTRs participants seeking hedging. This may indicate that a share of LTTRs is acquired with the expectation of profit rather than for hedging purposes.
9e | 2.4 If the TSOs should nevertheless remain at their current opinion, then we kindly ask you to conduct an appropriate study and prove that 350 MW of FTRs is enough for Baltic market participants and this amount enables to cover Baltic consumers demand for fixed-price contracts in the Baltics. We hereby underline that according to Article 30(3), Article 30(4) and Article 30(5) of the FCA regulation such study is in principle required and according to Article 30(4) major importance is not only attached to trading horizon (yearly and monthly products) but also traded volumes in relation to physical consumption. Unfortunately, the TSOs have not presented such study in consultation materials and therefore there is no proof that this proposal would actually meet the hedging needs of Baltic market participants. | TSOs acknowledge the request for an evidence-based study and would welcome an assessment carried out by the NRAs in line with Article 30 of the FCA regulation. The TSOs will provide a break‑even assessment as part of the proposal package in Annex 1. The analysis shows that the current capacity split can lead to systematic underselling, thereby motivating the proposed update to the splitting methodology. However, the TSOs do not propose to mechanically align auction volumes with the break-even results. Instead, the TSOs propose that a cap of maximum offered capacity of FI-EE FTRs is set at 350 MW, corresponding to the capacity of Estlink 1, even if the break-even volume analysis would suggest a lower value. As there are hedging instruments available via exchange and OTC in Finland, but only via OTC in Estonia, the main concern is the hedging needs of the Estonian market. If we consider Estonia’s hedging demand per MTU to be 1,600 MW, and based on 2025 data indicating that 37% of electricity is imported, it can be assumed that approximately 60% of the hedging demand could be covered within Estonia, and only 40% would require hedging from other areas (EPAD or OTC). According to Estfeed datahub statistics, approximately 50% (depending on the season) of consumer contracts are fixed-duration (and thus likely fixed-price) contracts. Therefore, to continue offering fixed contracts at the current level, the required hedge volume reduces from 1,600 MW to approximately 640 MW (40%). As 50% of contracts are fixed, the estimated hedging need to be covered using FTRs for Estonian customers would ultimately be approximately 320 MW. Therefore, TSOs consider Estlink 1 capacity to be sufficient for Estonian market hedging needs.
9f | 2.5 If the amounts of FTRs auctioned on FI-EE border will nevertheless be reduced as proposed by the TSOs, then the risk level in Baltic retail electricity market will rise and so will rise the prices for fixed-price contracts. As especially smaller market participants will be forced to reduce their risk appetite (because sufficient hedging opportunities will not be available), then most probably will also weaken competition in retail electricity market. | TSOs acknowledge concerns regarding retail risk premia. TSOs consider that LTTR firmness and predictability are key for effective hedging. A current legal uncertainty on firmness also increases the risk premia.
9g | 3. Auctioning of FI-EE FTRs – alleged “underselling” of FTRs, level of competition at the auctioning and participation of “outsiders” at the auctions 3.1 Alleged “underselling” of FTRs 3.1.1 In point 4 of the explanatory document the TSOs are claiming that FI-EE FTRs are being undersold. To make their case the TSOs have presented the definition of “underselling” in the first sentence of point 4 and brought out net income for the TSOs from auctioning of LTTRs on FI-EE border (Table 1 in explanatory document). As according to presented statistical data the TSOs have not earned positive net income from auctions of LTTRs on FI-EE border, they have come to conclusion that FTRs are being undersold. Based on the latter, the TSOs are claiming that the market participants obtaining the LTTR capacity are systematically benefiting at the expense of tariff payers. This is because less money will be available for the primary uses of congestion income including increasing and maintaining cross-zonal capacities of for lowering tariffs. | TSOs acknowledge the comments on auction outcomes. The explanatory document presents historical net income observations for FI–EE, used as one indicator of persistent income transfers affecting grid tariff payers. The perception of underselling or undervaluation is not made up the TSOs. It is aligned with the findings made by ACER in the ACER 2024 Market Monitoring Report.
9h | 3.1.2 Firstly, we hereby underline that no respective EU regulation (FCA, CACM etc) contains such definition as “underselling”. The term “underselling” is in EU law stipulated only in the context of anti-dumping and anti-subsidy regulations which have no relevance to auctioning of FTRs. Hence, the concept of “underselling” is the “invention” of TSOs and meant to promote the interest of TSOs only. We do not accept this concept. | TSOs note that “underselling” is not a defined legal term in FCA/CACM. TSOs use the term descriptively to refer to persistent situations where remuneration exceeds auction income, consistent with ACER’s EU‑wide analysis of LTTR undervaluation and net income transfers.
9i | 3.1.3 Secondly, the TSOs seem to have “legitimate expectations” to earn profits from auctioning of LTTRs and collect congestion income. Let us underline that no respective EU regulation (FCA, CACM etc) supports that expectation. On the contrary. Article 54(1) of the FCA regulation stipulates that “the concerned TSOs on a bidding zone border may propose a cap on the total compensation to be paid to all holders of curtailed long-term transmission rights in the relevant calendar year or the relevant calendar month in case of Direct Current interconnectors”. Moreover, Article 54(2) stipulates that “the cap shall not be lower than the total amount of congestion income collected by the concerned TSOs on the bidding zone border in the relevant calendar year. In case of Direct Current interconnectors, TSOs may propose a cap not lower than the total congestion income collected by the concerned TSOs on the bidding zone border in the relevant calendar month”. This means that the TSOs must be prepared to pay out compensations in total amount of congestion income collected by the concerned TSOs on the bidding zone border in the relevant calendar year. In that context, there cannot be legitimate expectations for TSOs to earn profits from auctioning of LTTRs and collect congestion income. | TSOs confirm they do not assume a “profit expectation” from LTTR issuance. The concern is the sustainability of LTTR issuance and the impact of persistent net transfers on grid tariff payers and the correct use of congestion income. If TSOs limit their risk exposure when offering LTTRs by aligning volumes with interconnector capacity and expected congestion income, the risk of unforeseen costs being passed on to network tariffs is reduced. In principle, LTTR-related risks should not be borne by network tariffs, as costs should follow beneficiaries (hedging users) and congestion income must be used for system benefit, including supporting hedging opportunities, but not for arbitrage.
9j | 3.1.4 Let us remind you that not only TSOs but also electricity suppliers serve consumers of electrical energy. If the electricity suppliers can obtain FTRs on beneficial conditions, then it means that they can offer better terms to their customers. In that context the TSOs claim that electricity suppliers benefiting at the expense of tariff payers is a selfish and groundless accusation. Not only TSOs are serving electricity consumers, but also electricity suppliers do so. We would like to note that what regards the pricing of LTTRs, then Article 40 of the FCA regulation stipulates the following: “The price of long-term transmission rights for each bidding zone border, direction of utilisation and market time unit shall be determined based on the marginal price principle and expressed in euro per megawatt. In case the demand for the long-term cross-zonal capacity for a bidding zone border, direction of utilisation and market time unit is lower or equal to the offered long-term cross-zonal capacity, the price shall be zero”. | TSOs acknowledge that suppliers also serve end consumers and that efficient hedging supports competitive retail offers. At the same time, persistent net transfers reduce resources available for network users and for the purposes of congestion income use. The methodology aims to balance hedging availability with sustainable issuance and firmness.
9k | 3.1.5 The TSOs claimed that reduced amounts of FTRs may alleviate “underselling”. However, they have completely left out from their analysis the months when amounts of FTRs, which were auctioned on FI-EE border, were significantly reduced (10-30 MW). If TSOs would have studied these cases, then they would have discovered that “underselling” is a phenomenon, which may appear also in cases where auction amounts are very small and demand is even bigger then at the times when usual amounts of FTRs are being offered. Hence, the net income for the TSOs from auctioning of LTTRs on FI-EE border cannot be considered as the only and adequate basis for assessing “underselling”. | TSOs note the point that negative net income can occur even at lower offered volumes. TSOs do not rely on a single indicator as discount drivers are multiple, but volume scales financial exposure. TSOs agree that excess volume is not the root cause but a risk amplifier. Larger volumes amplify the financial impact of underpricing.
9l | 3.1.6 The latter conclusion leads us to practices of TSOs regarding publishing information on limitations of cross-border transfer capacities. Market participants have repeatedly demonstrated to Elering that TSOs actions on limiting cross-border transfer capacities may significantly impact price differences between neighbouring bidding areas and thereby the value of FTRs. For instance, the value of FI-EE FTR can be very different when the cross-border transfer capacity on EE-LV border is 1400 MW, 900 MW or 600 MW. If TSOs significantly reduce cross-border transfer capacities (without any prior notice) after FTRs auctions have taken place, then appearance of “underselling” is imminent. This has happened number of times. | TSOs note the concern regarding subsequent changes in cross‑zonal capacities affecting realised spreads. The LTCS concerns splitting of long‑term cross‑zonal capacity and does not change the operational processes for capacity calculation and publication; however, TSOs acknowledge the importance of transparency and will continue to follow the publication obligations under FCA, CACM and REMIT.
9m | 3.2 Level of competition at the auctioning of FTRs 3.2.1 Based on alleged “underselling” of FTRs, the TSOs have claimed that there is no well-functioning competition at the auctions of FI-EE FTR products (more specifically, the TSOs have noted that they have not observed the situation which can be described as well-functioning competition). This conclusion again was made based on net income for TSOs from auctioning of FTRs on FI-EE border. 3.2.2 Having analysed the results of the auctions, we disagree with this claim. It appears (see Table 1) that requested capacity for yearly product has surpassed offered capacity during the period of 2023 to 2026 in average by 8,2 times and in average only 53,5% of participants were actually able to obtain yearly FTRs from the auction. These figures do not speak of poor attendance of market participants at the auctions and lack of competition. On the contrary, over the years there has been very active interest towards the auctions of yearly product. Table 1 Results of auctions on FI-EE yearly products (from www.jao.eu website) (As Entso-E consultation platform does not enable proper visualisation of tables, then we sent respective table to contact person of this public consultation (Airi Noor) via e-mail) | TSOs take note of the submitted table. TSOs clarify that observations of net income are not used as a sole proxy for auction competition. ACER explanation on undervaluation in MMR 2024 (54) A negative ex-post risk premium is usually driven by insufficient competition. Figure 21 indeed implies that the offered capacity is exceeding the actual demand for LTTRs from market participants looking to hedge against congestion in the day-ahead market. This may suggest that a share of LTTRs is being allocated with the expectation of a profit, rather than for covering the hedging needs of market participants. Therefore, the number of market participants, or how many of them are successful, does not in itself indicate effective competition, particularly if a large share of participants are seeking profit rather than hedging.
9n | 3.2.3 The situation with auctions of monthly products is rather similar. Requested capacity for monthly product has over the years significantly surpassed offered capacity and there has never been the case where all or even close to all participants have obtained requested capacity. Respective statistical data is presented in Table 2. Only months with normally offered capacities (ca 300 MW) were included in the table. Table 2 Results of auctions on FI-EE monthly products (from www.jao.eu website) (As Entso-E consultation platform does not enable proper visualisation of tables, then we sent respective table to contact person of this public consultation (Airi Noor) via e-mail) 3.2.4 Based on the presented statistical data, we reiterate our opinion that it is not prudent to assess the level of competition at the auctions only on the basis of net income for TSOs from FTRs auctions on FI-EE border. Moreover. bids of market participants are made based on forecasts. Forecasts cannot be precise given the large share of weather dependent generation capacities in the power systems of countries in Nordic-Baltic region. Even TSOs cannot forecast price differences between Finnish and Estonia’s bidding areas precisely. Therefore, aspects presented in our input should also be considered while assessing the level of competition and “underselling” at FI-EE FTRs auctions.
9o | 3.3 Participation of “outsiders” at the auctions 3.3.1 On page 6 of explanatory document the TSOs noted that auction winners were often from areas other than the Baltic or Finnish markets. According to TSOs, this might imply that the hedging needs of market participants in the Finnish and Baltic markets could potentially be satisﬁed with lower volumes of LTTRs than what is currently made available. 3.3.2 Such note and highly speculative conclusion (which is not supported by any evidence) were astonishing. Article 37 of the FCA regulation stipulates in detail the terms and conditions for participation in the forward capacity allocation. Article 37(1) specifically stipulates that eligibility requirements shall comply with the principles of non-discrimination and transparency. This means that all eligible and registered market parties, regardless of their origin, can participate at FI-EE FTRs auctions and based on auction results offer their services to Finnish and Baltic market participants and consumers. This principle serves as a bedrock of EU’s common power market. If TSOs are of the opinion that market parties from areas other than the Baltic and Finnish markets shall not have the right to participate at the FI-EE FTR auctions, then the TSOs should come up with respective legislative proposal and propose it to competent authorities. We consider the mentioned conclusion of TSOs as groundless. | TSOs confirm that the methodology does not propose any restriction on in Baltics or outside region participation and fully respects non‑discrimination. However, demand for LTTRs should primarily originate from local participants. Given that these products are often undervalued, this indicates a situation of oversupply, resulting in congestion income being transferred out of the region. Therefore, reducing offered volumes is justified. Excess volumes may artificially increase liquidity but reduce efficiency.
9p | 3.4 Conclusions: - we do not agree with the concept of “underselling” invented by the TSOs. TSOs cannot have legitimate expectations to earn profits from auctioning of LTTRs and collect congestion income. This is not supported by any respective legal act. Moreover, while presenting the case of “underselling”, the TSOs have taken very narrow view and excluded other important aspects from the analysis; - we do not agree with the TSOs conclusion that there is no well-functioning competition at the auctions of FI-EE FTRs. On the contrary, we are of the opinion that there is active interest among market participants towards these auctions and competition is vibrant; - we are of the opinion that it is groundless to speculate whether the hedging needs of market participants in the Finnish and Baltic markets could potentially be satisﬁed with lower volumes of LTTRs than what is currently made available (because auction winners are sometimes from areas other than the Baltic and Finnish markets). If duly registered, these “outsiders” can participate at FI-EE FTRs auctions and based on auction results offer their services to Finnish and Baltic market participants and consumers. | TSOs take note of the conclusions. TSOs reiterate: (i) the proposal is not based on expecting profits, but on sustainability and tariff payer impacts; (ii) the methodology aims to balance hedging availability with sustainable issuance and firmness; and (iii) the methodology remains non‑discriminatory and provides yearly and monthly hedging instruments.
9q | 4. TSOs increased financial risk – interpretation of the applied EU law, proposal of TSOs to decrease capacity offered to FI-EE FTRs auctions 4.1 Interpretation of the applied EU law 4.1.1 We are well aware of the opinion of ACER published on 11.04.2025 and position paper published by ENTSO-E in October 2025. Having carefully read ACER’s opinion and ENTSO-E position paper, we noticed that these papers contain significant conflicts in interpretation of EU law. Due to the latter, on 13.11.2025 Union of Electricity Industries of Estonia (ETL) sent an official letter to DG Energy (Unit C3-Internal Energy Market) and asked for Commission’s explanation regarding these conflicts (because forward capacity allocation in the EU is primarily based on the FCA regulation which was adopted by the Commission). ETL received a response to its letter on 18.12.2025, which was signed by Christof Lessenich, head of unit. In the response letter the Commission noted that: “the Commission is not in a position to take views on topics that are the subject of national proceedings outside the specific procedures in place. However, I would like to confirm that ACER consulted the European Commission for the preparation of its Opinion 02/2025 based on the draft opinion submitted for the ACER Electricity Working Group advice, in line with the legal requirements stipulated in Article 6(7) of Regulation (EU) 2019/942, which mandates ACER to consult the European Commission before delivering its opinion”. 4.1.2 Hence, the Commission refrained from explaining its position regarding interpretation of the applied EU law on this matter but indirectly referred that they might agree with the opinions reflected in ACER’s opinion. | TSOs acknowledge that different interpretations have been presented by stakeholders. The LTCS amendment is a targeted measure within TSOs’ remit under FCA Article 16 to ensure firm LTTR issuance under the prevailing interpretative context; it does not prejudge outcomes of broader legal discussions.
9r | 4.2 Proposal of TSOs to decrease capacity offered to FI-EE FTRs auctions 4.2.1 The TSOs have proposed to limit the volumes of FI-EE FTRs (150 MW for yearly and up to 200 MW for monthly product) to reflect the maximum physical flow of electricity in a situation where only one interconnector is in use. In explanatory document (pages 9-10), the TSOs also offered examples of financial risk level to TSOs, which may arise due to outage of Estlink 1, Estlink 2 and both Estlink cables, which were meant to support the proposal of limiting FI-EE FTR volumes. According to TSOs, setting the FTR volumes at these levels ensures that even in the event of a simultaneous outage of both Estlink cables the compensation obligations remain within the expected annual congestion income, safeguarding TSO financial stability. 4.2.2 We consider this proposal and the approach how the TSOs have arrived at this proposal speculative and being not in compliance with the FCA regulation. Article 16(2) of the FCA regulation clearly defines to which conditions the methodology for splitting long-term cross-zonal capacity shall comply: (a) it shall meet the hedging needs of market participants; (b) it shall be coherent with the capacity calculation methodology; (c) it shall not lead to restrictions in competition, in particular for access to long-term transmission rights. By making this proposal, the TSOs have not followed these conditions and instead tried to work out complementary safeguards for protecting their interest. We are of the opinion that the FCA regulation and Harmonised allocation rules for LTTRs already contain required safeguards for TSOs, although we admit that some further clarity on various practical issues could be required. | TSOs respect the fulfilment of the FCA Art 16(2) three conditions. FCA Art 16(2)(c) does not require maximum volumes. Unrealistic volumes can distort competition through unreliable hedging and hedging availability cannot be assessed independently of firmness. This implies that firmness is as important as volume. ENTSO-E position paper emphasises that LTTRs are linked to physical system conditions and congestion income. Over-allocation above reliable capacity leads to curtailment risk and reduces firmness for all. ACER Opinion 02/2025 limits curtailment for Force Majeure and operational security; combined with Estonian NRA positions expressed in it Junction, this constrains ex-post measures (CAP in line with FCA Art 54) and supports conservative ex-ante volume setting. Therefore, volumes must be set conservatively ex-ante. The core rationale is to ensure that LTTR auctions can be honoured without curtailment under the credible scenario of a single interconnector outage. For example, in 2024 and 2025, Estlink 2 was out of operation due to external damage for approximately half of the year.
9s | 4.2.3 In its opinion ACER clearly stated that since FTRs on FI-EE bidding zones border cannot have an impact on operational security, then they should not be curtailed pursuant to Article 53(1) of the FCA regulation. Although ACER acknowledged that allocation of FTRs might have financial impact to TSOs, such impact should nevertheless not be associated with impact to operational security. We agree with this opinion. 4.2.4 Secondly, ACER concluded that when TSOs invoke force majeure, they must demonstrate that the relevant situation fulfils all conditions stipulated in definition of force majeure. ACER specifically mentioned that in case of invoking force majeure, TSOs would need to consider whether the event has financial impact that makes it impossible for the TSOs to temporarily or permanently fulfil their obligations. We agree with this opinion. | TSOs acknowledge the reference to ACER Opinion 02/2025. The current uncertainty regarding curtailment for FTRs reinforces the need to ensure LTTR volumes are set so that firmness does not rely on curtailment in single‑interconnector outage situations. As stated by the common TSO position paper, the TSOs opinion is that there is no way of removing the link between the physical transmission of electricity. It is due to the existence of operational security limits that LTTRs, including FTRs, must be curtailed. Although FTRs do not themselves entail a physical right to transmit electricity, their financial consequences are related to the physical transmission, and they may therefore be curtailed where the physical transmission is affected. This interpretation is reinforced by Article 56 of the HAR, which provides the same curtailment consequences for PTRs and FTRs in case of both force majeure events and operational security limits events, both described as triggering events. In fact, Article 56(2) of the HAR provides that “Curtailment may be applied on allocated LTTRs including, where the case may be, on nominated Physical Transmission Rights”. The emphasis of PTRs makes it even clearer that the same arrangements apply to FTRs. Article 56(4) of the HAR spells out the consequences for all types of LTTRs – PTRs and both types of FTRs. As provided above, in such circumstances, “[i]n the case of financial transmission rights, each registered participant affected by curtailment shall lose its right to transfer or return the concerned financial transmission rights or to receive remuneration in accordance with Article 48.” ACER’s interpretation in relation to Article 53 of the FCA Regulation cannot be correct because that Article does not refer solely to PTRs. In parallel, the current wording of Article 56 of the HAR, as approved by ACER, does not exclude FTRs, but it rather refers to all LTTRs.
9t | 4.2.5 Thirdly, although ACER concluded that curtailment for maintaining operational security does not seem feasible for FTRs on the FI-EE bidding zone border and the cap would not be applicable, it nevertheless noted that “the status of a cap as defined pursuant to Article 54 of the FCA Regulation could still serve as one of several factors that could be taken into account for considering the TSOs’ financial means to fulfil its obligation of remunerating FTR options for the FI-EE bidding zone border”. 4.2.6 We find this part of ACER’s opinion hard to understand. In principle, we are of the opinion that TSOs should not face unlimited liabilities while offering LTTRs. Moreover, the limits of firmness of LTTRs should be well known not only to TSOs but also to market participants. This requirement has according to our opinion so far not been met and it requires clarification. According to our opinion, the cap shall not be lower than the total amount of congestion income collected by the concerned TSOs on the bidding zone border in the relevant calendar year (as per Article 54(2) of the FCA regulation). If this cap is exhausted, the TSOs should have the right to invoke force majeure event (given that other terms in force majeure definition are also fulfilled. | While FCA Article 54 provides for the possibility of applying a compensation cap, this provision is explicitly linked to situations where LTTRs are curtailed. In other words, the cap mechanism is designed to limit compensation obligations arising from curtailment events. However, in the current regulatory context, the applicability of such a mechanism is significantly constrained. In November 2025, the Estonian NRA issued an injunction to Elering, providing clear guidance that FTRs must not be curtailed. This position is consistent with the interpretation also reflected in ACER’s Opinion 02/2025. As a result, the regulatory framework effectively removes curtailment as a viable risk mitigation tool. Consequently, the compensation cap foreseen under Article 54 cannot be relied upon in practice, as its application presupposes the ability to curtail FTRs. In the absence of curtailment, TSOs must manage financial exposure through ex-ante measures, primarily by adjusting the volume of FTRs offered. Therefore, reducing FTR volumes is a necessary and proportionate response under the current regulatory constraints.
9u | 4.2.7 What regards the examples of outages of Estlink cables and their impact to TSOs risk profile (which were provided in explanatory document), then we consider simultaneous and long-term outage of both Estlink cables as an extraordinary event, which probability due to technical failures is very low. Occurrence of such event is more probable in the event of war or hybrid attack. We consider that auctioning amounts of FTRs should not be based on such extreme circumstances. 4.2.8 In case of long-term failure of one Estlink cable, we consider TSOs financial risks to be sufficiently covered by congestion income even with todays FTR amounts because in that case auctioning of monthly FTRs will be halted and one cable can serve all yearly FTRs. | The TSOs' proposal is considered proportionate to ensure firmness and predictable hedging value. Recent Estlink2 outages in 2024 and 2025 demonstrate that long outage events are realistic, with repair times exceeding six months. System design must consider credible worst-case scenarios and TSOs are trying to safeguard the FTR-market in a new reality, where intentional cable damaging is a reoccurring phenomenon.
9v | 5. Summary and proposals 5.1 We hereby decline to accept the proposed amendment to the methodology. Finnish EPAD market is the most important hedging opportunity for the Baltic market participants now and in a foreseeable future. The proposed amendment will significantly restrict access of Baltic market participants to this market, undermines their ability to offer fixed-price products to end-consumers, and this is something, which according to our understanding is not in compliance with Article 16(2) of the FCA regulation. 5.2 We hereby decline to accept the concept of “underselling” invented by TSOs. According to explanatory document, the TSOs seem to have “legitimate expectations” to earn profits from auctioning of LTTRs and collect congestion income. Let us underline that no respective EU regulation (FCA, CACM etc) supports that expectation. According to applied regulations the TSOs must be prepared to pay out compensations in total amount of congestion income collected by the concerned TSOs on the bidding zone border in the relevant calendar year. | The perception of underselling or undervaluation is not a TSO assumption, but is supported by the findings of ACER in its 2024 Market Monitoring Report. According to the FRC methodology, remaining (not covered by respective MTU congestion income) remuneration costs must ultimately be covered by other congestion income or TSO financial resources. However, congestion income accumulated in previous years may already have been used or committed at the moment the risk materialises. It must be noted that the Estonian NRA has also guided that TSO risk from LTTRs is directly linked to issued volumes and that TSOs may design allocation methodology accordingly under FCA Article 16.
9w | 5.3 Statistical data regarding auctioning of FTRs on FI-EE border does not support the TSOs view according to which there is no well-functioning competition at the auctions. We are of the opinion that the level of competition cannot be assessed only based on net income for TSOs from auctioning of FTRs. Based on the level of participation of market participants at the auctions and number of market participants who have obtained FTRs, we are of the opinion that competition at the auctions is vibrant. 5.4 We are of the position that all duly registered market participants can participated at the FI-EE FTR auctions and based on auction results offer their services to Baltic and Finnish market participants and consumers. It is inappropriate to speculated what would happen if market participants originating outside of Finnish and Baltic market areas would not participate at the auctions. | TSOs acknowledge the point that participation can be high while net transfers still occur. TSOs’ concern relates to the economic impact of persistent net transfers affecting grid tariff payers, as identified in EU‑wide monitoring and observed in FI–EE historical outcomes.
9x | 5.5 We in principle are of the opinion that TSOs should not face unlimited liabilities while offering LTTRs. Moreover, the limits of firmness of LTTRs should be well known not only to TSOs but also to market participants. This requirement has according to our opinion so far not been met and it requires clarification. According to our opinion, the cap for compensations shall not be lower than the total amount of congestion income collected by the concerned TSOs on the bidding zone border in the relevant calendar year (as per Article 54(2) of the FCA regulation). If this cap is exhausted, the TSOs should have the right to invoke force majeure event (given that other terms in force majeure definition are also fulfilled). 5.6 We are of the opinion that legal certainty regarding the firmness of FTRs and liabilities of TSOs needs to be clarified as soon as possible. Estonian TSO could ask Estonian NRA to arrange a workshop on this subject matter so that all involved market parties could take part of it. | Regulatory uncertainty increases risk exposure for both TSOs and market participants. It should be noted that there are two distinct legal uncertainties: one related to past curtailment decisions (force majeure), and another concerning potential limitations on future curtailment. Until greater legal clarity is achieved, TSOs will continue to act in accordance with the FCA Regulation, including Article 56. TSOs fully agree on the need for legal clarity and support continued stakeholder dialogue on these topics. The present amendment to the methodology addresses the immediate need to ensure the firmness of LTTR issuance under the current interpretative framework, while TSOs continue to engage in processes aimed at achieving greater legal certainty regarding firmness and curtailment. The scope of the TSOs’ proposal is limited to the capacity splitting methodology.
10a | 1. Affect for energy market in Baltics and retail consumers Reduction of Long-Term Cross-Zonal Capacity in Finnish–Estonian (FI-EE) bidding zone border is harmful to power market in the whole Baltic region. Currently FTRs is working as the only instrument through which market participants can hedge their risk against power price fluctuations in the region. By reducing FTRs volume, TSOs risk to affect Baltics market significantly. Clearly, such changes should be made only after careful modelling and consideration, what Explanatory document lacks. Fixed price products are dominant in the power market in Baltic countries and limiting hedging volumes for utilities companies might restrain fixed product offerings for end-clients. More fixed price clients might be forced to change their contracts from fixed price to spot price contracts which expose businesses to commodity price fluctuations and adds additional risks for the businesses operating in already vulnerable geopolitical surroundings. On the other hand, even those who will remain in fix contracts would face potentially higher prices, since a limited hedging will force utility companies to evaluate the increased risks by increasing the final prices. Therefore, the argument that limiting volumes would benefit end-clients in the region is exaggerated – consumers will cover the costs by energy supply component in the final prices. According to regulation, restriction of hedge instruments goes directly against FCA Article 3, which promotes effective long-term cross-zonal trade and Article16, which states that methodology for splitting long term capacity should meet market needs. Furthermore, in case of Lithuanian national law, retail companies which supply household consumers are obliged to offer fixed price contracts. Clearly, this proposal of TSOs would make this requirement complicated. To conclude, reducing volume of FTRs would be especially harmful in the context of Baltics, where FTRs serve as the only hedge instrument. It should be noted, that even at current FTR auctioned volume, requested capacity usually surpasses the offered capacity. Therefore, limiting the much needed instrument could lead to unexpected outcomes, or at best, send a poor message to already liquidity lacking market. | TSOs recognise the limited availability of hedging instruments in the region. The methodology change is intended to preserve a sustainable LTTR issuance by ensuring firmness without curtailment under single interconnector outages, thereby protecting the reliability of the LTTR hedge. The LTCS amendment is grounded in FCA Article 16 and is designed to meet hedging needs while remaining coherent with long‑term capacity calculation and ensuring non‑discriminatory access. FCA Art 16(2) requires the simultaneous fulfilment of three conditions: (a) hedging needs, (b) coherence with capacity calculation, and (c) no distortion of competition. Hedging availability cannot be assessed independently of firmness. Moreover, FCA Art 16(2)(c) does not require maximum volumes. Unrealistic volumes can distort competition through unreliable hedging. Persistent patterns (as shown in the Explanatory document) where remuneration exceeds auction income create a net transfer from grid tariff payers to LTTR holders. This phenomenon is documented in the ACER MMR 2024 and is also observed on the FI–EE border during periods of normal operation. TSOs consider that the costs associated with fixing electricity prices should be borne by those consumers who choose price certainty, rather than being socialised across all network users. If TSOs limit their risk exposure when offering FTRs by aligning volumes with interconnector capacity and expected congestion income, the risk of cost socialisation through tariffs is reduced. Regulation 2019/943 Art 19 foresees that congestion income must be used for system benefit including supporting hedging opportunities, but not for arbitrage. Regarding the overall Baltic electricity market need, it must be noted that Euronext has launched EPAD Vilnius, offering hedging in the Baltics. Moreover, Lithuanian and Swedish TSOs will start supporting EPAD Lithuania, with the project foreseeing an EPAD COMBO for the LT–SE border starting from 2027.
10b | 2. Auction "outsiders” and underselling Currently there are 650 MW offered in JAO arranged auctions combining annual and monthly offered volumes or 65% of combined Estlink cables capacities. Reduction would decrease volume to only 350 MW (150 MW annual and 200 MW of monthly quantity) or just 35% of combined Estlink cables capacities. Limiting volume equal ,,…to the actual physical flow electricity that can be hosted by either one of the interconnectors” would not guarantee functioning of at least one cable anyway. Instead of decreasing the volume, much more fair practice for market participants is to allocate the quantities proportionally to auction winners in case there is incident and physical flow cannot be assured. The underselling argument used in the explanatory document is, least to say, trivial. According to the document’s text <(i)f underselling was present in a product, then with well-functioning competition it would be expected that new market participants enter the auctions and drive up the price until equilibrium is reached where no underselling is present”>. Also <…it becomes evident that auction winners were other from areas other than the Baltic or Finnish markets”>. Number of participants entering bids into the auctions is quite consistent and usually exceeds 30. Therefore, stating that there is a shortage of interest and fact that there is significant number of participants outside Baltic and Finnish markets is contradicting itself. What is more, limiting the capacity offered would not prevent players from outside the region to continue to participate in the auctions and would harm primarily local market players and their end-customers. It is important to note that the argument about “participants from outside” and seeking to prioritize only Baltic participants with a need for hedge might contradict to FCA Article 37, which states policy of non-discrimination and transparency. | ACER MMR 2024 identifies structural issues in forward markets, including uneven liquidity and the presence of speculative participation. ACER explains undervaluation as follows: a negative ex-post risk premium is usually driven by insufficient competition. Evidence suggests that currently offered FI-EE LTTRs capacity may exceed actual demand for LTTRs participants seeking hedging. This may indicate that a share of LTTRs is acquired with the expectation of profit rather than for hedging purposes. Therefore, the number of market participants or successful bidders does not, in itself, indicate effective competition, particularly if a large share of participants are seeking profit rather than hedging. The TSOs will provide a break‑even assessment as part of the proposal package in Annex 1. The analysis shows that the current capacity split can lead to systematic underselling, thereby motivating the proposed update to the splitting methodology. However, the TSOs do not propose to mechanically align auction volumes with the break-even results. Instead, the TSOs propose that a cap of maximum offered capacity of FI-EE FTRs is set at 350 MW, corresponding to the capacity of Estlink 1, even if the break-even volume analysis would suggest a lower value. It should be stressed that TSOs do not seek to restrict participation from outside the region. However, demand for LTTRs should primarily originate from local participants. Given that these products are often undervalued, this indicates a situation of oversupply, resulting in congestion income being transferred out of the region. Therefore, reducing offered volumes is justified. Excess volumes may artificially increase liquidity but reduce efficiency.
10c | 3. Firmness and curtailing of FTRs Explanatory document states, that “Elering and Fingrid are therefore proposing to limit the FI–EE LTTR volumes to reflect the observed availability of the ESTLINK 1 and ESTLINK 2 interconnectors as this influences the firmness of the FTRs”. However, as is explained in the same document, the firmness of the FTRs depends on the rules of FTRs curtailment, but not directly on interconnectors’ outage, since all FI-EE LTTR are traded as independent financial instruments. Therefore, instead of constant market restrictions by capacity volume, a more sophisticated rules of FTRs curtailment could be defined to manage force majeure cases, which would be applied only when situation requires for it (it would help with concern about FTRs firmness). That could mean curtailing FTRs when the limits of yearly congestion revenue is met, without putting TSOs to financial risk. Temporary situations should be managed by temporary measures, but not by permanent market restrictions based on “non biding opinions” or poorly supported financial speculations. In general, it is natural that TSO net income from FTRs is negative (so called underselling), if price spread between zones was considerably positive from the buyer perspective. The auctions of FTRs is the tool to compensate congestion for market participants and to ensure viable cross-zonal trade at the cost of TSO congestion income, so it is a bit surprising that TSOs seeks to make this activity profitable, while no EU regulation aims to that. To conclude, the “underselling” problem should encourage TSO to decrease zones spreads by making investments into interconnectors capacity and ensuring their stability instead of restricting trade instruments. | TSOs note the point that firmness of an FTR is linked to curtailment rules. Given the current interpretative context on curtailment of FTRs, TSOs consider it necessary to set offered volumes such that firmness does not rely on curtailment in single interconnector outage situations. It must be noted that the Estonian NRA has also guided that TSO risk from LTTRs is directly linked to issued volumes and that TSOs may design allocation methodology accordingly under FCA Article 16. TSOs are committed to maintaining the Estlink interconnectors and, in cooperation with Estonian and Finnish authorities, use congestion income to strengthen subsea cable protection. TSOs are also strongly incentivised to restore interconnectors quickly, both to ensure security of supply and because congestion income is only generated when commercial flows occur. TSOs have taken measures to reduce outage durations (e.g. spare parts, contracts, cooperation with repair vessels), but repair timelines depend on external factors such as vessel availability, specialised expertise, and weather conditions. Therefore, even a six-month repair period should be considered optimistic in severe cases.
10d | 4. Analysis scope and reasoning The Explanatory document does not provide objective data which would make the main proposal grounded. The new proposed volume is based strictly on physical capacity of interconnectors. However, the relationship between FTRs, their effects on the market and physical transmission is not so trivial. Therefore, we kindly suggest conducting a more detailed analysis and a broader discussion before making significant changes to the volume. AS one of the main arguments, underselling is defined as a financial burden. However, as was mentioned before, there is no aim in any EU regulation to make TSO net income from FTRs on FI-EE positive. On the contrary, congestion income is defined as a source to make cross-zone trading more viable and attractive for the market. Finally, when auctioning cross-border flows and receiving results, TSOs get their income hedged and it has also some intrinsic value. That means that TSOs have secured income and the result does not any longer depend on price situation on spot market. TSOs also provided the numbers for critical cases, in example defining the case when both interconnectors are out of order. However, the number provided is not supported by any data and additional calculations, therefore it is hard to guess how reliable they are. In example: it is hard to understand, why TSOs limits annual congestion income to 100 million Eur. However, basic calculations show, that this number realistically could reach much more, up to 200 million Eur, which makes all arguments doubtful. Summary After carefully analyzing the proposal of TSOs and Explanatory document, we would like to express that we strongly disagree with the proposed change and underlying reasoning. In our opinion, the proposed decrease of allocated cross-zonal FTRs volume would contradict to EU and national regulations, it would transfer TSOs business risks to other market participants at the expense of market viability and competitiveness in retail market. Moreover, we found that Explanatory document lacks grounded evidence that current FTRs volume could lead to grave financial consequences or that current proposal could prevent it. Therefore, we firmly advise regulatory authorities to reject the proposal. | TSOs acknowledge the request for broader analysis. TSOs trust that this response clarifies for market participants and NRAs why the reduction of FI–EE LTTR volumes is proportionate, justified, and consistent with the EU regulatory framework. TSOs will include a break‑even assessment to complement the existing explanatory material.